##### BANGALORE WATER SUPPLY AND SEWERAGE BOARD

Tender for the work of replacement of old Pneumatic Operated SF-6 Breaker with new Spring operated 220KV SF6 Circuit Braker in NRS (Vrushabhavathi) Tataguni 220KV incoming power supply line in 220KV Power Receiving Substation in Tataguni.

(Through Karnataka Public Procurement portal only)

https://www.kppp.karnataka.gov.in

Office of the Executive Engineer,

Kaveri - Operation & Maintenance -2

Division, Harohalli-562112

| TENDER REFERENCE | : | No.BWSSB/EE(K-O&M)-2/PB/3050/2025-26, Dt:24/03/2026 |
| --- | --- | --- |
| NAME OF WORK | : | Tender for the work of replacement of old Pneumatic Operated SF-6 Breaker with new Spring operated 220KV SF6 Circuit Braker in NRS (Vrushabhavathi) Tataguni 220KV incoming power supply line in 220KV Power Receiving Substation in Tataguni. (Short Term Tender-Call-3) |
| DATE OF UPLOADING OF TENDER DOCUMENT | : | 02/03/2026 |
| LAST DATE AND TIME OF SUBMISSION OF TENDER DOCUMENT | : | 09/03/2026, up to 16:00hrs |
| TIME AND DATE OF OPENING OF TECHNICAL/ FINANCIALBID | : | 10/03/2026, after 17:00hrs |
| PLACE OF OPENING OF TENDER | : | Office of the Executive Engineer, Kaveri - Operation & Maintenance -2 Division, Harohalli-562112 |
| ADDRESS FOR COMMUNICATION | : | Office of the Executive Engineer, Kaveri - Operation & Maintenance -2 Division, Harohalli-562112 |

CONTENTS

Section 		Description 			Page

No.

1 	INVITATION FOR TENDERS (IFT) 			04

2 	INSTRUCTIONS TO TENDERERS (ITT) 			07

3	FORMS OF TENDER AND QUALIFICATION INFORMATION	17

4	CONDITIONS OF CONTRACT						21

5	CONTRACT DATA								36

6	SPECIFICATIONS / SCOPE OF WORK					37

7	DRAWINGS									38

8	BILL OF QUANTITIES								__

9	FORMAT OF BANK GUARANTEE FOR SECURITY DEPOSIT	39

SECTION 1:

BANGALORE WATER SUPPLY AND SEWERAGE BOARD Office of the Executive Engineer, Kaveri - Operation & Maintenance -2 Division, Harohalli-562112

# Short Term Tender-Call-3

# INVITATION FOR TENDER

(ONLY THROUGH KARNATAKA PUBLIC PROCUREMENT PORTAL)

www.kppp.karnataka.gov.in

IFT No: BWSSB /EE(K-O&M)-2/PB/3050/2025-26, Date:24/03/2026

For and on behalf of the Bangalore Water Supply and Sewerage Board, ITEMWAR TENDER is invited through Karnataka Public Procurement Portal with tender procedure in line with Rule 28 of the KTPP Act by the Executive Engineer, Kaveri-Operation and Maintenance-2 Division, Bangalore Water Supply and Sewerage Board, Harohalli for the Tender for the work of replacement of old Pneumatic Operated SF-6 Breaker with new Spring operated 220KV SF6 Circuit Braker in NRS (Vrushabhavathi) Tataguni 220KV incoming power supply line in 220KV Power Receiving Substation in Tataguni. (Short Term Tender-Call-3). from eligible tenderers, registered Electrical Contractor above Class-III in BWSSB or in any Other Government Organization.

The Tenderers are required to pay the Earnest Money Deposit through Karnataka Public Procurement Portal only using any of the following four modes.

- Credit Card (Online Payment)

- Direct Debit Using Internet Banking (Online Payment)

- Remittance at the Bank Counter-Challan (Offline Payment)

- NEFT (Online/Offline Payment).

The Earnest Money Deposit of unsuccessful Tenderers will be returned within 30 days of the end of the tender validity period specified in Sub-Clause 12.1.

The Earnest Money Deposit of the successful Tenderer will be discharged when the Tenderer has signed the Agreement and furnished the required Performance Security.

The details regarding the capability to undertake the tender (as detailed in Table -A below and Section -2 clause 3 of ITT) and the price schedule shall be uploaded in the website. Technical details will be opened on the date and time mentioned in ITT Section- 2 Clause -19 and evaluated. The price schedule of the Tenderer, who is found to be qualified to execute the tendered works, will be opened on the date notified later. The Tenderers are advised to note the minimum qualification criteria specified in Section -2 clauses 3 of the Instructions to Tenderers to qualify for award of the contract.

- Tender documents may be downloaded from https://www.kppp.karnataka.gov.in website only. Interested tenderers may obtain further information at the same address.

- Additional information related to e-procurement process can be obtained through the above-mentioned website or contact Karnataka Public Procurement Portal helpdesk No.080-2550 1216/2550 1227.  The e-tender comprising Technical and Financial bids will be operated as Single Cover Tender system.

- The Last date and time for Receipt of tenders will be on 09/03/2026 up to 16:00Hrs. and the date of opening of technical bid will be on 10/03/2026 after 17:00Hrs.

TABLE-A

| Sl. No | Name of Work | Amount put to Tender | Earnest Money Deposit @ 2% | Tender Processing Fee | Period of Completion of Work | Eligibility Class of Contractor |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Tender for the work of replacement of old Pneumatic Operated SF-6 Breaker with new Spring operated 220KV SF6 Circuit Braker in NRS (Vrushabhavathi) Tataguni 220KV incoming power supply line in 220KV Power Receiving Substation in Tataguni. (Short Term Tender-Call-3) | Rs. 38,32,367/- (Excluding GST) | Rs. 77,000/- | As per Karnataka Public Procurement Portal | 12 Months | Any Registered Electrical Class-III or above Class Contractor in any Govt. organizations (220kv class or above class License) |

The Eligibility criterion for the above work is as follows:

- The tender is based on Single Cover System.

- Contractor Should have Electrical Class-III or Above Class Contractor registration (220kv class or above class License) in BWSSB or PWD/KUWSDB/KPTCL/CPWD/in any other Govt. Organizations

- To qualify for award of this contract, each tenderer in its name should have in the

last five years (i.e., 2020-2021 to 2024-2025).

- Achieved in at least Two financial years an average annual financial turnover should not be less than amount put to tender of Rs.45,22,193/- (Rupees Forty-Five Lakhs Twenty-Two Thousand One Hundred and Ninety-Three Only).

- The Tenderer Should Have Satisfactorily completed at least one similar work such as Supply erection testing and commissioning of 220kvclass SF6 Circuit Breaker/220kv 0.2s class CT to an extent of 50% of the cost of work. i.e., Rs.22,61,096/-

(Obtaining Confirmation for the above Quantities is Mandatory)

- Assessed available tender capacity = (A*N*2.5-B) More Than Rs. 45,22,193/-

A = Maximum value of Electrical works executed in any one year during last five years taking into account the completed as well as works in progress

N = Number of years (1)

B = Valuable of on-going works

- Form of tender as per KW-2 format to be uploaded which in Mandatory.

- The successful bidder would be required to give performance Bank Guarantee of 5% of the contract amount plus additional security for unbalanced bid amount from a Nationalized/Scheduled Indian Bank, with jurisdiction at Bangalore as specified, towards guarantee for completion of work within the stipulated period

- Applications/requisitions from joint venture Firms are not acceptable.

- Bangalore Water Supply and Sewerage Board (BWSSB) reserve the right to cancel or annul the entire or part of this process of invitation at any time without assigning any reason.

- For any additional information regarding the above tender, the firms who are interested to quote, may contact office of the undersigned at the office address given below on all working days during office hours (10:30hours to 17:00 hours).

- List of documents to support qualification of bidder is to be uploaded to the KPP Portal website  www.kppp.karnataka.gov.in

Corrigendum/Addendum/Modification/corrections, if any, will be published in the Web site only.

Sd/-

Executive Engineer,

Kaveri-Operation and Maintenance -2Division

Bangalore Water Supply and Sewerage Board.

Harohalli-562112

SECTION 2:  INSTRUCTIONS TO TENDERERS (ITT)

Table of Clauses

A. General      								Page No.

1. Scope of Tender       								8

2. Eligible Tenderers       								8

3. Qualification of the Tenderer							8

B. Tender Documents

4. Content of Tender documents       						09

5. Amendment of Tender documents      						09

C. Preparation of Tenders

6. Documents comprising the Tender      						10

7. Tender prices     									10

8. Tender validity       								10

9. Earnest money deposit      						10

10. Format and signing of Tender       						11

D. Submission of Tenders

11 Sealing and marking of Tenders 						12

12 Deadline for submission of Tenders 						12

13 Late Tenders 									12

14 Modification and Withdrawal of Tenders 					12

E. Tender opening and evaluation

15. Tender opening 									13

16. Opening of Price Tender of qualified Tenderers and evaluation		13

17. Process to be confidential							14

18. Clarification of Tenders							14

19. Examination of Tenders and determination of responsiveness		14

20. Correction of errors								15

21.Evaluation and comparison of Tenders					15

F. Award of contract

22. Award criteria 									15

23 Employer’s right to accept any Tender and to reject any or all Tenders 	15

24. Notification of award and signing of Agreement 				16

25. Security deposit 									16

26. Corrupt or fraudulent practices 						16

A. 	General

1. 	Scope of Tender

1.1.1	The Executive Engineer, Kaveri Operation and Maintenance-2 Division, BWSSB invites tenders from Contractors registered in BWSSB or in any government organization for the Tender for the work of replacement of old Pneumatic Operated SF-6 Breaker with new Spring operated 220KV SF6 Circuit Braker in NRS (Vrushabhavathi) Tataguni 220KV incoming power supply line in 220KV Power Receiving Substation in Tataguni. (Short Term Tender-Call-3). (Hereafter it as defined in these documents and referred to as "the works") detailed in the Table given in the Invitation for Tenders (IFT). The tenderers may submit tenders for all of the works detailed in the table given in IFT.

2.   	Eligible Tenderers

2.1 	Tenderers shall not be under a declaration of ineligibility for corrupt and fraudulent practices issued by the Government of Karnataka.

2.2 	Tenders from Joint ventures are not acceptable.

3. 	Qualification of the Tenderer:

3.1 	All tenderers shall provide the requested information accurately and in sufficient

detail in Section 3: Form of Tender and Qualification information.

3.2 	To qualify for award of this contract, each tenderer in its name should have in the last five years (i.e., 2020-2021 to 2024-2025).

- Achieved in at least Two financial years an average annual financial turnover should not be less than amount put to tender of Rs.45,22,193/- (Rupees Forty-Five Lakhs Twenty-Two Thousand One Hundred and Ninety-Three Only).

- The Tenderer Should Have Satisfactorily completed at least one similar work such as Supply erection testing and commissioning of 220kvclass SF6 Circuit Breaker/220kv 0.2s class CT to an extent of 50% of the cost of work. i.e., Rs.22,61,096/-

(Obtaining Confirmation for the above Quantities is Mandatory)

3.4   To qualify for a package of contracts made up of this and other contracts for which tenders are invited in this IFT, the Tenderer must demonstrate having experience and resources to meet the aggregate of the qualifying criteria for the individual contracts.

3.5 	Tenderers who meet the above specified minimum qualifying criteria, will only be qualified, if their available tender capacity is more than the total tender value. The   available tender capacity will be calculated as under:

Assessed available tender capacity = (A*N*2.5 - B) should be more than

Rs. 45,22,193/- Where,

A = Maximum value of Electrical works executed in any one year during the last five years (updated to 2025-26 price level) taking into account the completed as well as works in progress.

N = Number of years prescribed for completion of the works for which Tenders are

invited. (12/12)

B = Value, at 2025-26 price level, of existing commitments and on-going works to be

completed during the next one year.

Note: The statements showing the value of existing commitments and on-going works as well as the stipulated period of completion remaining for each of the works listed should be countersigned by the Employer in charge, not below the rank of an Executive Engineer or equivalent*.

3.2   	Even though the tenderers meet the above criteria, they are subject to be disqualified if they have:

-made misleading or false representations in the forms, statements and attachments submitted in proof of the qualification requirements; and/or

- record of poor performance such as abandoning the works, not properly completing the contract, inordinate delays in completion, litigation history, or financial failures etc.; and/or

- participated in the previous Tender for the same work and had quoted unreasonably high tender prices and could not furnish rational justification.

# B.  	Tender documents

4. 	Content of Tender documents

4.1 	The set of tender documents shall have all the Sections given in Page 2:

4.2 	Both the sets should be completed and uploaded with the tender.

5. 	Amendment of Tender documents

5.1 	Before the deadline for submission of tenders, the Employer may modify the tender documents by issuing addenda.

5.2 	Any addendum thus issued shall be part of the tender documents and shall be communicated in writing or by cable to all the purchasers of the tender documents.

5.3 	To give prospective tenderers reasonable time in which to take an addendum into account in preparing their tenders, the Employer shall extend as necessary the deadline for submission of tenders, in accordance with Sub-Clause 12.2 below.

C.  	Preparation of Tenders

6. 	Documents comprising the Tender

6.1 	The tender submitted by the Tenderer shall comprise the following:

(a)  	Scanned copies of Qualification Information as per formats given in Section 3;

(b)  	Priced Bill of Quantities;

(c) 	Qualification Information Form and Documents; and any other materials required to be completed and submitted by tenderers in accordance with these instructions. The documents listed under Sections 3, 5 and 8 shall be filled in without exception.

PHOTOCOPIES OF THE DOCUMENTS SHOULD BE NOTARISED

7. 	Tender prices

7.1 	The contract shall be for the whole works as described in Sub-Clause 1.1, based on the priced Bill of Quantities submitted by the Tenderer.

7.2 	The Tenderer shall fill in rates (Section 8) for all items of the Works described in the Bill of Quantities. Items for which no rate or price is entered by the Tenderer will not be paid for by the Employer when executed and shall be deemed covered by the other rates and prices in the Bill of Quantities. Corrections, if any, shall be made before submitting the tender in e portal.

7.3 	All duties, taxes, and other levies payable by the contractor under the contract, or for any other cause, shall be included in the rates, prices and total Tender Price submitted by the Tenderer.

7.4 	The rates and prices quoted by the Tenderer shall be fixed for the duration of the

Contract and shall not be subject to adjustment on any account.

8. 	Tender validity

8.1 	Tenders shall remain valid for a period not less than ninety days after the deadline date for tender submission specified in Clause 12.  A tender valid for a shorter period shall be rejected by the Employer as non-responsive.

8.2 	In exceptional circumstances, prior to expiry of the original time limit, the Employer may request that the tenderers may extend the period of validity for a specified additional period.  The request and the tenderers' responses shall be made in writing or by cable. A tenderer may refuse the request without forfeiting his earnest money deposit. A tenderer agreeing to the request will not be required or permitted to modify his tender, but will be required to extend the validity of his earnest money deposit for a period of the extension, and in compliance with Clause 9 in all respects.

9. 	Earnest Money Deposit

9.1 	The Tenderers are required to pay the Earnest Money Deposit through e-procurement portal only using any of the following four modes.

- Credit Card (Online Payment)

- Direct Debit Using Internet Banking (Online Payment)

- Remittance at the Bank Counter - Challan (Offline Payment)

- NEFT (Online payment).

9.2 	Instruments having fixed validity issued as Earnest Money Deposit for the tender shall be valid for 45 days beyond the validity of the tender.

9.3 	Any tender not accompanied by an acceptable Earnest Money Deposit and not secured as indicated in Sub-Clauses 9.1 and 9.2 above shall be rejected by the Employer as non-responsive.

9.4 	The Earnest Money Deposit of unsuccessful tenderers will be returned within 30 days of the end of the tender validity period specified in Sub-Clause 8.1.

9.5 	The Earnest Money Deposit of the successful Tenderer will be discharged when the Tenderer has signed the Agreement and furnished the required Performance Security.

9.6 	The Earnest Money Deposit may be forfeited:

(a) 	if the Tenderer withdraws the Tender after tender opening during the period of tender validity;

(b) 	if the Tenderer does not accept the correction of the Tender Price, pursuant to Clause 19; or

(c) 	in the case of a successful Tenderer, if the Tenderer fails within the specified time limit to

(i) sign the Agreement; or

(ii) furnish the required Security deposit

10. 	Format and signing of Tender

10.1 	The completed bid comprising of documents indicated in ITT 10, should be uploaded in the e-procurement portal along with scanned copies of requisite certificates those are mentioned in different sections in the bid document.

10.2 	All the documents should be uploaded in e-procurement portal. Tenderer should take a print out of the declaration letter provided in the website on company letter head and should sign, stamp and upload the same to the tender.

10.3 	deleted.

D.  	Submission of Tenders

11. 	Up-loading & submission of tenders.

11.1 	The tenders should be uploaded only through KPP Portal Tender should

Contain

A. 	Technical Tender consisting of following:

a) All the documents with required details in prescribed format; those are mentioned in different sections in the Tender and shall be downloaded, filled with required details, signed, scanned & uploaded to the Karnataka Public Procurement Portal https://www.kppp.karnataka.gov.in .

b) The above documents along with notarized copies of documentary evidences as indicated in Section—II ITT, Section-III Qualification information & Section IV Forms of Tender shall be scanned and uploaded to the website compulsorily, failing which tender will be rejected in view of incomplete bid document.

B. 	Financial Tender consisting of Bill of Quantities

The tenderer shall quote their rates in KPP Portal only.

1. 	URL of the Website for tender submission through Karnataka Public Procurement Portal& Address for submission are as follows:

(www.kppp.karnataka.gov.in )

2. 	The details related to submission of tenders, downloading / uploading of documents or other details are available online in KPP Portal website or contact Karnataka Public Procurement helpdesk - 080 2550 1216 / 2550 1227

11.3 	deleted

11.4 	deleted

12. 	Deadline for submission of the Tenders

12.1 	Tenders must be uploaded through Karnataka Public Procurement Portal before date and time mentioned in the Tender notification.

12.2 	The Employer may extend the deadline for submission of tenders by issuing an amendment in accordance with Clause 5, in which case all rights and obligations of the Employer and the Tenderers previously subject to the original deadline will then be subject to the new deadline.

13. 	Late Tenders

13.1 	The Karnataka Public Procurement Portal system will not allow the tenderer to upload the documents after the deadline for submission of tenders. The Tenderer shall refer the server time, which will be displayed in the KPP Portal. BWSSB will not be responsible for non-receipt of bids on the stipulated date & time, due to Internet Problems, improper uploading or any other related problems. In case of connectivity problems, Tenderer may contact Helpdesk of the e-tender service provider and may also draw the attention of tender inviting authority.

14. 	Modification and Withdrawal of Tenders

14.1 	Tenderers may modify or withdraw their Tenders as per the e portal facility before submission of tender.

14.2 	deleted.

14.3 	No Tender can be modified after the deadline for submission of Tenders.

14.4 	Withdrawal or modification of a Tender between the deadline for submission of Tenders and the expiration of the original period of Tender validity specified in Clause 8.1 above or as extended pursuant to Clause 8.2 may result in the forfeiture of the Earnest Money Deposit pursuant to Clause 9.

14.5 	Tenderers may offer discounts for individual items by simply modifying the quoted unit price in the Bill of Quantities. All modification should be completed before the deadline for submission of tenders in website.

E.  	Tender opening and evaluation

15.  	Tender opening

15.1 	The Employer will open all the Tenders through e portal in the presence of the Tenderers or their representatives who choose to attend on the date and the place specified in Clause 12. In the event of the specified date of Tender opening being declared a holiday for the Employer, the Tenders will be opened at the appointed time and location on the next working day.

15.2 	Withdrawal proposal shall be read out first and their bids shall not be opened.

15.3 	The Tenderers names, the presence or absence of Earnest Money Deposit (amount, format and validity), the submission of qualification information and such other information as the Employer may consider appropriate will be announced by the Employer at the opening.

15.4 The Employer shall prepare minutes of the Tender opening, including the information disclosed to those present in accordance with Sub-Clause 15.3.

15.5 The Price Tenders of all the Tenderers including modifications for financial tenders

cannot be opened as this is programmed to open later after evaluation of the

Technical details of the participating Tenderers.

15.6   The Employer will evaluate and determine whether each tender (a) meets the

eligibility criteria defined in ITT Clause 2; (b) is accompanied by the required

earnest money deposit as per stipulations in ITT Clause and (c) meets the minimum

qualification criteria stipulated in ITT Clause 3. The Employer will draw out a list of

qualified Tenderers.

16. 	Opening of Price Tender of qualified Tenderers and evaluation:

16.1 	The Employer will inform all the Qualified Tenderers the time, date and venue fixed for the opening of the price Tenders.  The Employer will open the price tender of Qualified Tenderers at the appointed time and date in the presence of the Tenders or their representatives who choose to attend. In the event of the specified date of Price tender opening being declared a holiday for the Employer, the price tenders will be opened at the appointed time and location on the next working day.

16.2	Deleted.

16.3 	The Tenderers' names, the Tender prices, the total amount of each Tender, any discounts, and withdrawals, and such other details as the Employer may consider appropriate, will be announced by the Employer at the opening.  No Tender shall be rejected at Tender opening.

16.4 	The Employer shall prepare minutes of the Price Tender opening, including the information disclosed to those present in accordance with Sub-Clause 16.3.

17.  	Process to be confidential

17.1 	Information relating to the examination, clarification, evaluation, and comparison of Tenders and recommendations for the award of a contract shall not be disclosed to Tenderers or any other persons not officially concerned with such process until the award to the successful Tenderer has been announced. Any effort by a Tenderer to influence the Employer's processing of Tenders or award decisions may result in the rejection of his Tender.

18.  	Clarification of Tenders

18.1 	To assist in the examination, evaluation, and comparison of Tenders, the Employer may, at his discretion, ask any Tenderer for clarification of his Tender, including breakdowns of unit rates. The request for clarification and the response shall be in writing or by cable, but no change in the price or substance of the Tender shall be sought, offered, or permitted except as required to confirm the correction of arithmetic errors discovered by the Employer in the evaluation of the Tenders in accordance with Clause 20.

18.2 	Subject to sub-clause 18.1, no Tenderer shall contact the Employer on any matter relating to its Tender from the time of the Tender opening to the time the contract is awarded.  If the Tenderer wishes to bring additional information to the notice of the Employer, it should do so in writing.

18.3 	Any effort by the Tenderer to influence the Employer in the Employer’s Tender evaluation, Tender comparison or contract award decisions may result in the rejection of the Tenderers’ Tender.

19.  	Examination of Tenders and determination of responsiveness

19.1 	Prior to the detailed evaluation of Tenders, the Employer will determine whether each Tender (a) meets the eligibility criteria defined in Clause 2; (b) has been properly signed; (c) is accompanied by the required earnest money deposit and; (d) is substantially responsive to the requirements of the Tender documents.

19.2 	A substantially responsive Tender is one which conforms to all the terms, conditions, and specifications of the Tender documents, without material deviation or reservation. A material deviation or reservation is one (a) which affects in any substantial way the scope, quality, or performance of the Works; (b) which limits in any substantial way, inconsistent with the Tender documents, the Employer's rights or the Tenderer's obligations under the Contract; or (c) whose rectification would affect unfairly the competitive position of other Tenderers presenting substantially responsive Tenders.

19.3 	If a Tender is not substantially responsive, it will be rejected by the Employer, and may not subsequently be made responsive by correction or withdrawal of the nonconforming deviation or reservation.

20. 	Correction of errors

20.1 	The correction of errors of bid price will not be possible as the bids are non-editable. Once the Tenderer enters the rates in figures in the Bill of quantities provided, the system will automatically generate the rate in words and calculate the amount of that item, as well as the total Bid value.

20.2 	deleted

21.  	Evaluation and comparison of Tenders

21.1 	The Employer will evaluate and compare only the Tenders determined to be substantially responsive in accordance with Clause 19.

21.2 	deleted.

21.3 	The Employer reserves the right to accept or reject any variation, deviation, or alternative offer. Variations, deviations, and alternative offers and other factors which are in excess of the requirements of the Tender documents or otherwise result in unsolicited benefits for the Employer shall not be taken into account in Tender evaluation.

F.  	Award of Contract

22. 	Award criteria

22.1 	Subject to Clause 24, the Employer will award the Contract to the Tenderer whose Tender has been determined to be substantially responsive to the Tender documents and who has offered the lowest evaluated Tender Price, provided that such Tenderer has been determined to be (a) eligible in accordance with the provisions of Clause 2, and (b) qualified in accordance with the provisions of Clause 3.

23. 	Employer's right to accept any Tender and to reject any or all Tenders

23.1 	Notwithstanding Clause 22, the Employer reserves the right to accept or reject any Tender, and to cancel the Tender process and reject all Tenders, at any time prior to the award of Contract, without thereby incurring any liability to the affected Tenderer or Tenderers or any obligation to inform the affected Tenderer or Tenderers of the grounds for the Employer's action.

24. 	Notification of award and signing of Agreement

24.1 	The Tenderer whose Tender has been accepted will be notified of the award by the Employer prior to expiration of the Tender validity period by cable, telex or facsimile confirmed by registered letter. This letter (hereinafter and in the Conditions of Contract called the "Letter of Acceptance") will state the sum that the Employer will pay the Contractor in consideration of the execution, completion, and maintenance of the Works by the Contractor as prescribed by the Contract (hereinafter and in the Contract called the "Contract Price").

24.2 	The notification of award will constitute the formation of the Contract, subject only to the furnishing of a performance security in accordance with the provisions of Clause 25.

24.3 	The Agreement will incorporate all agreements between the Employer and the successful Tenderer. It will be kept ready for signature of the successful Tenderer in the office of Employer within 30 days following the notification of award along with the Letter of Acceptance. Within 20 days of receipt, the successful Tenderer will sign the Agreement and deliver it to the Employer.

24.4 	Upon the furnishing by the successful Tenderer of the Security deposit, the Employer will promptly notify the other Tenderers that their Tenders have been unsuccessful.

25.  	Security Deposit

25.1 	The successful bidder would be required to give performance Bank Guarantee of 5% of the contract amount plus additional security for unbalanced bid amount from a Nationalized/Scheduled Indian Bank, with jurisdiction at Bangalore as specified, towards guarantee for completion of work within the stipulated period

25.2	Failure of the successful Tenderer to comply with the requirements of Sub-Clause 24.1 shall constitute sufficient grounds for cancellation of the award and forfeiture of the earnest money deposit.

26. 	Corrupt or Fraudulent practices

26.1 	The GOK requires that the Tenderers, observe the highest standard of ethics during the procurement and execution of such contracts. In pursuance of this policy, GOK:

- will reject a proposal for award if it determines that the Tenderer recommended for award has engaged in corrupt or fraudulent practices in competing for the contract in question;

- will declare a firm ineligible, either indefinitely or for a stated period of time, to be awarded a GOK contract if it at any time determines that the firm has engaged in corrupt or fraudulent practices in competing for, or in executing, a GOK contract.

26.2 	Furthermore, Tenderers shall be aware of the provision stated in sub-clause 43.2 of the Conditions of Contract.

SECTION 3: FORMS OF TENDER, AND QUALIFICATION INFORMATION

Form of Tender (sample)

Description of the Works: Tender for the work of replacement of old Pneumatic Operated SF-6 Breaker with new Spring operated 220KV SF6 Circuit Braker in NRS (Vrushabhavathi) Tataguni 220KV incoming power supply line in 220KV Power Receiving Substation in Tataguni. (Short Term Tender-Call-3)

To:

Office of the Executive Engineer

Kaveri - Operation & Maintenance-2

Division, Harohalli-562112.

GENTLEMEN,

We offer to execute the Works described above in accordance with the Conditions of Contract accompanying this Tender for the Contract Price of ______(Quoted in the Financial Bids Only) [in figures] (_Quoted in the Financial Bids Only _) [in letters].

This Tender and your written acceptance of it shall constitute a binding contract between us. We understand that you are not bound to accept the lowest or any Tender you receive.

We undertake that, in competing for (and, if the award is made to us, in executing) the above contract, we will strictly observe the laws against fraud and corruption in force in India namely “Prevention of Corruption Act 1988”.

We hereby confirm that this Tender complies with the Tender validity and Earnest Money Deposit required by the Tender documents.

We attach herewith our current income-tax clearance certificate.

Yours faithfully,

Authorized Signature:

Name & Title of Signatory:  _________________________________________________________________

Name of Tenderer     ______________________________________________

Address:              ----------------------------------------------------------------------

----------------------------------------------------------------------

-----------------------------------------------------------------------

Qualification Information

The information to be filled in by the Tenderer hereunder will be used for purposes of computing Tender capacity as provided for in Clause 3 of the Instructions to Tenderers. This information will not be incorporated in the Contract.

1.1 Constitution or legal status of Tenderer 			[Attach copy]

Agency in which Registered (with Registration No.)		(Attach Copy)

Principal place of business: _________________________________________________________

1.2 Total value of Electrical works executed and payments received in the last five years.   (Attach Certificate from Chartered Accountant)

2020 - 21 ______________

2021 - 22 ______________

2022 - 23_____________

2023 - 24_____________

2024 - 25______________

1.3	Work performed as Prime Contractor (in the same name) on works of similar nature over during the five years specified in 1.2 above.

| Project Name | Name of Employer | Description of Work | Contract Number | Value of contract Rs. Lakhs | Date of issue of work order | Specified period of completion | Actual date of completion | Remarks explaining reasons for delay in completion of work |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |

1.5	Information on works for which Tenders have been submitted and works which are yet to be completed as on the date of this Tender.

(A) 	Existing commitments and on-going works:

| Description of Work | Place& State | Contract No. & Date | Name and Address of Employer | Value of Contract (Rs. lakhs) | Stipulated period of completion | Value of works remaining to be completed (Rs. lakhs) | Anticipated Date of completion |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |

(B) Works for which Tenders already submitted:

| Description of Work | Place & State | Name and Address of Employer | Estimated value of works (Rs. lakhs) | Stipulated Date period of completion | when decision is expected | Remarks if any |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |

1.7 	Reports on the financial standing of the tenderer, such as profit and loss statements and auditor’s reports for the last five years;

1.8 	Qualification and experience of the key technical and management personnel in permanent employment with the tenderer and those that are proposed to be deployed on this contract, if awarded.

1.9. 	Name, address, and telephone, telex, and fax numbers of the Tenderers' bankers who may provide references if contacted by the Employer.

1.10 	Evidence of access to financial resources to meet the qualification requirement specified in ITT Clause3.3 (b): Cash in hand, Letter of Credit etc. List them below and attach certificate from the Banker in the suggested format as under:

1.3 Information on works for which Tenders have been submitted and works which are yet to be completed as on the date of this Tender.

1.4. Name, address, and telephone, telex, and fax numbers of the Tenderers' bankers who may provide references if contacted by the Employer.

BANKER’S CERTIFICATE

This is to certify that M/s. …………………………. is a reputed company with a good financial standing. If the contract for this work, namely ……………………………… (name of the work) is awarded to the above firm, we shall be able to provide overdraft/credit facilities to the extent of Rs. …………… to meet the working capital requirements for executing the above contract

Sd/-

Name of the Bank, Senior Bank Manger

Address:………………………………

Agreement Form (sample)

Agreement (Amount of e-stamp paper as per latest order of GoK)

This agreement, made the __________day of _______20_, between ___________________[name and address of Employer] (hereinafter called “the Employer”) of the one part and _____________ [name and address of contractor] (hereinafter called “the Contractor”) of the other part.

Whereas the Employer is desirous that the Contractor execute _____________________________ [name and identification number of Contract] (hereinafter called “the Works”) and the Employer has accepted the Tender by the Contractor for the execution and completion of such Works and the remedying of any defects therein at a contract price of Rupees....................................................

NOW THIS AGREEMENT WITNESSETH as follows:

1. 	In this Agreement, words and expression shall have the same meanings as are respectively assigned to them in the Conditions of Contract hereinafter referred to, and they shall be deemed to form and be read and construed as part of this Agreement.

2. 	In consideration of the payments to be made by the Employer to the Contractor as hereinafter mentioned, the Contractor hereby covenants with the Employer to execute and complete the Works and remedy any defects therein in conformity in all aspects with the provisions of the Contract.

3. 	The Employer hereby covenants to pay the Contractor in consideration of the execution and completion of the Works and the remedying the defects wherein the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and in the manner prescribed by the Contract.

4. 	The following documents shall be deemed to form and be read and construed as part of this Agreement, viz:

i) 	Notice to proceed with the works;

ii) 	Contractor’s Tender;

iii) 	Contract Data;

iv)  	Conditions of contract (including Special Conditions of Contract);

v) 	Specifications;

vi) 	Drawings/Photographs;

vii)	Bill of Quantities; and

viii) 	Any other document listed in the Contract Data as forming part of the contract.

ix)	LOA

- Payment Conditions: Payments will be made after completion of the work satisfactorily,

12months guaranty from the date of completion of work.

- Jurisdiction of Courts/ Arbitration:

The sitting of arbitration shall be held at Bangalore only and nowhere else.

- Dispute of any kind arising out of the contract shall be resolved within the jurisdiction of Bangalore city only and the parties agree and clearly understand that the courts/tribunals situated at Bangalore Metropolitan City have exclusive jurisdiction for the redressal of the disputes arising out of the contract and at no other place.

- The parties further agree and understand that the place or places of issue of bank guarantee other than Bangalore will have no jurisdiction to resolve dispute of any kind relating to enforcement of the bank guarantees submitted by the contractor at Bangalore for the execution of the contract at Bangalore.

- The contractor shall comply with all the legal requirements in the matter of employment of workmen and provide all safety gadgets to the workmen while working in the hazards place or conditions during the execution of the contract.

- Contractor shall be fully responsible in the event of death of employee/workman during the execution of the work and liable to pay adequate compensation to the dependents of employee/workman as per law.

- On his/their failure, if the board is made to pay compensation the same shall be recovered by the Board from the contractor out of the amounts due to the contractor or by appropriate legal action.

- If death of any employees occurs during execution of work due to negligence of contractor, the contract will be liable for termination.

- In the event of such termination, the employer may consider blacklisting of firm after due notice.

- In case of any death or accident the contract will be cancelled after following due process.

- The board will be entitled to claim exemplary damages from the contractor in case of death of any work man/employees of the contractor in any of the BWSSB works as it damages the reputation of the board.

In witness whereof the parties thereto have caused this Agreement to be executed the day and year first before written.

The Common Seal of ______________________was hereunto affixed in the presence of:

Signed, Sealed and Delivered by the said______________________________________________

in the presence of:

Binding Signature of Employer _____________________________________________________

Binding Signature of Contractor ____________________________________________________

Letter of Acceptance (letterhead paper of the Employer)

________________________[date] to: _________________________________________________________________________

[name and address of the Contractor]  Dear Sirs,   This is to notify you that your Tender dated ____________ for execution of the______________________________________________________________________________________ [name of the contract and identification number, as given in the

Instructions to Tenderers] for the Contract Price of Rupees ——___________________________________________________________ (_____________) [amount in words and figures], as corrected and modified in accordance with the Instructions to Tenderers is hereby accepted by our Agency.   You are hereby requested to furnish Security deposit, in the form detailed in Para 25.1 of ITT for an amount of Rs. ————— within 20 days of the receipt of this letter of acceptance valid up to 30 days from the date of expiry of Defects Liability Period i.e. up to ............ and sign the contract, failing which action as stated in Para 25.4 of ITT will be taken.

Yours faithfully,

Authorized Signature         Name and Title of Signatory      Name of Agency ---------------------------------------------------------------------------------------

Issue of Notice to proceed with the work (letterhead of the Employer)

————— (date) To  —————————————— (name and address of the Contractor)  ——————————————  ——————————————  Dear Sirs:   Pursuant to your furnishing the requisite security deposit as stipulated in ITT Clause 25.1 and signing of the contract agreement for the construction of ——————  27a Tender Price of Rs.——————, you are hereby instructed to proceed with the execution of the said works in accordance with the contract documents.

Yours faithfully,

(Signature, name and title of signatory

authorized to sign on behalf of Employer)

SECTION 4: CONDITIONS OF CONTRACT

Table of Contents

A. General								Page No.

1. Definitions     								23

2. Interpretation     								24

3. Law governing contract     						25

4. Employers decisions     							25

5. Delegation     								25

6. Communications     							25

7. Subcontracting     							25

8. Other Contractors     							25

9. Personnel     								25

10. Employer’s and Contractor’s risks     				25

11. Employer’s risks     							26

12 Contractor’s risks     							26

13 Query about Contract Data     						26

14 Contractor to construct the Works     					26

15. The Works to be completed by Intended Completion Date 	26

16. Safety     								26

17. Discoveries     								26

18. Possession of the Site     						26

19. Access to the Site     							26

20. Instructions     								27

B. Time Control

21. Program     								27

22. Extension of the Intended Completion Date   			27

23. Delays ordered by the Employer     					27

24. Management meetings     						27

C. Quality Control

25. Identifying defects     							28

26. Tests     									28

27. Correction of defects     						28

28 Uncorrected defects     							28

D. Cost Control

29 Bill of Quantities (BOQ) 						28

30 Variations     								28

31. Payment for Variations     						29

32. Submission of bills for payment     					30

33 Payments     								30

34. Compensation events     						30

35. Tax     									31

36. Liquidated damages     						31

37. Cost of repairs     							32

E Finishing of Contract

38. Completion     								32

39. Taking Over     								32

40. Final account     							32

41. As built drawings     							32

42. Termination     								33

43 Payment upon termination     						33

44. Property     								34

45. Release from performance     						34

F Special Conditions of Contract					34

Conditions of Contract

A.  	General

1. 	Definitions

1.1 	Terms which are defined in the Contract Data are not also defined in the Conditions of Contract but keep their defined meanings. Bold letters are used to identify defined terms.

Bill of Quantities means the priced and completed Bill of Quantities forming part of the Tender.

Compensation events are those defined in Clause 34 hereunder.

The Completion Date is the date of completion of the Works as certified by the Employer in accordance with Sub Clause 38.1.

The Contract is the contract between the Employer and the Contractor to execute, complete and maintain the Works. It consists of the documents listed in Clause 2.3 below.

The Contract Data defines the documents and other information which comprise the Contract.

The Contractor is a person or corporate body whose Tender to carry out the Works has been accepted by the Employer.

The Contractor's Tender is the completed Tender document submitted by the Contractor to the Employer.

The Contract price is the price stated in the Letter of Acceptance and thereafter as adjusted in accordance with the provisions of the Contract.

Days are calendar days; months are calendar months.

A Defect is any part of the Works not completed in accordance with the Contract.

The Defects liability period is the period named in the Contract Data and calculated from the Completion Date.

The Employer is the party who will employ the Contractor to carry out the Works.

Equipment is the Contractor's machinery and vehicles brought temporarily to the Site to execute the Works.

The Initial Contract price is the Contract Price listed in the Employer's Letter of Acceptance.

The Intended Completion Date is the date on which it is intended that the Contractor shall complete the Works. The Intended Completion Date is specified in the Contract Data. The Intended Completion Date may be revised only by the Employer by issuing an extension of time.

Materials are all supplies, including consumables, used by the contractor for incorporation in the Works.

Plant is any integral part of the Works which is to have a mechanical, electrical, electronic or chemical or biological function.

The Site is the area defined as such in the Contract Data.

Specification means the Specification of the Works included in the Contract and any modification or addition made or approved by the Employer.

The Start Date is given in the Contract Data. It is the date when the Contractor shall commence execution of the works. It does not necessarily coincide with any of the Site Possession Dates.

A Subcontractor is a person or corporate body who has a Contract with the Contractor to carry out a part of the work in the Contract which includes work on the Site.

A Variation is an instruction given by the Employer which varies the Works.

The Works are what the Contract requires the Contractor to execute, install, and turn over to the Employer, as defined in the Contract Data.

2. 	Interpretation

2.1 	In interpreting these Conditions of Contract, singular also means plural, male also means female or neuter, and the other way around. Headings have no significance. Words have their normal meaning under the language of the Contract unless specifically defined. The Employer will provide instructions clarifying queries about the Conditions of Contract.

2.2 	The documents forming the Contract shall be interpreted in the following order of priority:

(1) Agreement

(2) Letter of Acceptance, notice to proceed with the works

(3) Contractor’s Tender

(4) Contract Data

(5) Conditions of Contract

(6) Specifications

(7) Drawings

(8) Bill of quantities and

(9) any other document listed in the Contract Data as forming part of the Contract.

3.  	Law governing contract

3.1 	The law governing the Contract is the Laws of India supplanted by the Karnataka Local Acts.

4. 	Employer's decisions

4.1 	Except where otherwise specifically stated, the Employer will decide contractual matters between the Employer and the Contractor.

5. 	Delegation

5.1 	The Employer may delegate any of his duties and responsibilities to other people after notifying the Contractor and may cancel any delegation after notifying the Contractor.

6.  		Communications

6.1 	Communications between parties which are referred to in the conditions are effective only when in writing. A notice shall be effective only when it is delivered (in terms of Indian Contract Act).

7.  		Subcontracting

7.1 	The Contractor may subcontract with the approval of the Employer but may not assign the Contract without the approval of the Employer in writing. Subcontracting does not alter the Contractor's obligations.

8. 	Other Contractors

8.1 	The Contractor shall co-operate and share the Site with other contractors, public authorities, utilities, and the Employer.

9. 	Personnel

9.1 	The Contractor shall employ the technical personnel (of number and qualifications) as may be stipulated by GOK from time to time during the execution of the work. The technical staff so employed shall be available at site as may be stipulated by the Employer.

9.2 	If the Employer asks the Contractor to remove a person who is a member of the Contractor’s staff or his work force stating the reasons, the Contractor shall ensure that the person leaves the Site within seven days and has no further connection with the work in the Contract.

10.   	Employer’s and Contractor's risks

10.1 	The Employer carries the risks which this Contract states are Employer’s risks, and the Contractor carries the risks which this Contract states are Contractor’s risks.

11.   	Employer's risks

11.1 	The Employer is responsible for the excepted risks which are (a) in so far as rebellion, riot commotion or disorder or (b) a cause due solely to the design of the Works, other than the Contractor’s design.

12.  	Contractor’s risks

12.1 	All risks of loss of or damage to physical property and of personal injury and death which arise during and in consequence of the performance of the Contract other than the excepted risks are the responsibility of the Contractor.

13.   	Queries about the Contract Data

13.1 	The Employer will clarify queries on the Contract Data.

14.   	Contractor to construct the Works

14.1 	The Contractor shall construct the Works in accordance with the Specification and Drawings.

15.   	The Works to be completed by the Intended Completion Date

15.1 	The Contractor may commence execution of the Works on the Start Date and complete them by the Intended Completion Date.

16.   	Safety

16.1 	The Contractor shall be responsible for the safety of all activities on the Site.

17.   	Discoveries

17.1 	Anything of historical or other interest or of significant value unexpectedly discovered on the Site is the property of the Employer. The Contractor is to notify the Employer of such discoveries and carry out the Employer's instructions for dealing with them.

18.   	Possession of the Site

18.1 	The Employer shall give possession of all parts of the Site to the Contractor. If possession of a part is not given by the date stated in the Contract Data the Employer is deemed to have delayed the start of the relevant activities and this will be Compensation Event.

19.   	Access to the Site

19.1 	The Contractor shall allow the Employer and any person authorized by the Employer access to the Site, to any place where work in connection with the Contract is being carried out or is intended to be carried out and to any place where materials or plant are being manufactured / fabricated / assembled for the works.

20.   	Instructions

20.1 	The Contractor shall carry out all instructions of the Employer which comply with the applicable laws where the Site is located.

B.  	Time Control

21.   	Program

21.1  	Within the time stated in the Contract Data the Contractor shall submit to the Employer for approval a Program showing the general methods, arrangements, order, and timing for all the activities in the Works.

21.2  	The Employer's approval of the Program shall not alter the Contractor's obligations. The Contractor may revise the Program and submit it to the Employer again at any time. A revised Program is to show the effect of Variations and Compensation Events.

22.   	Extension of the Intended Completion Date

22.1  	The Employer shall extend the Intended Completion Date if a Compensation Event occurs or a Variation is issued which makes it impossible for Completion to be achieved by the Intended Completion Date.

22.2  The Employer shall decide whether and by how much to extend the Intended Completion Date within 21 days of the Contractor asking the Employer for a decision upon the effect of a Compensation Event or Variation and submitting full supporting information.

23.   	Delays ordered by the Employer

23.1  	The Employer may instruct the Contractor to delay the start or progress of any activity within the Works.

24.  	Management meetings

24.1  	The Employer may require the Contractor to attend a management meeting. The business of a management meeting shall be to review the progress achieved and the plans for remaining work.

24.2  	The responsibility of the parties for actions to be taken is to be decided by the Employer either at the management meeting or after the management meeting and stated in writing to be distributed to all who attended the meeting.

C.  	Quality Control

25.   	Identifying defects

25.1  	The Employer shall check the Contractor's work and notify the Contractor of any Defects that are found. Such checking shall not affect the Contractor's responsibilities. The Employer may instruct the Contractor to search for a Defect and to uncover and test any work that the Employer considers may have a Defect

26.   	Tests

26.1 If the Employer instructs the Contractor to carry out a test not specified in the Specification to check whether any work has a Defect and the test shows that it does, the Contractor shall pay for the test and any samples. If there is no Defect the test shall be a Compensation Event.

27.   	Correction of defects

27.1  	The Employer shall give notice to the Contractor of any Defects before the end of the Defects Liability Period, which begins at Completion and is defined in the Contract Data. The Defects Liability Period shall be extended for as long as Defects remain to be corrected.

27.2  	Every time notice of a Defect is given; the Contractor shall correct the notified Defect within the length of time specified by the Employer’s notice.

28.  	Uncorrected defects

28.1  	If the Contractor has not corrected a Defect within the time specified in the Employer’s notice, the Employer will assess the cost of having the Defect corrected, and the Contractor will pay this amount.

D.  	Cost Control

29.   	Bill of Quantities (BOQ)

29.1  	The BOQ shall contain items for the construction, installation, testing, and commissioning work to be done by the Contractor.

29.2  	The BOQ is used to calculate the Contract Price. The Contractor is paid for the quantity of the work done at the rate in the BOQ for each item

30.   	Variations

0.1	The Employer shall have power to order the Contractor to do any or all of the following as considered necessary or advisable during the progress of the work by him

- (a) Increase or decrease of any item of work included in the Bill of Quantities (BOQ);

- (b) Omit any item of work;

- (c) Change the character or quality or kind of any item of work;

- (d) Change the levels, lines, positions and dimensions of any part of the work;

- (e) Execute additional items of work of any kind necessary for the completion of the works; and

- (f) Change in any specified sequence, methods or timing of construction of any part of the work.

30.2  	The Contractor shall be bound to carry out the work in accordance with any instructions in this connection, which may be given to him in writing by the Employer and such alteration shall not vitiate or invalidate the contract.

30.3  	Variations shall not be made by the Contractor without an order in writing by the Employer, provided that no order in writing shall be required for increase or decrease in the quantity of an item appearing in the BOQ so long as the work executed conforms to the approved drawings.

30.4  	The Contractor shall promptly request in writing the Employer to confirm verbal orders and if no such confirmation is received within 15 days of request, it shall be deemed to be an order in writing by the Employer.

31.   	Payments for Variations

31.1  	Payment for increase in the quantities of an item in the BOQ up to 25% of that provided in the Bill of Quantities shall be made at the rates quoted by the Contractor.

31.2   For quantities in excess of 125% of the tendered quantity of an item as given in the BOQ, the Contractor shall be paid at the rate entered in or derived from, in the Schedule of Rates (applicable for the area of the work and current at the time of award of contract) plus or minus the overall percentage of the original tendered rates over the current Schedule of Rates prevalent at the time of award of contract.

31.3  	If there is no rate for the additional, substituted or altered item of the work in the BOQ, efforts would be made to derive the rates from those given in the BOQ or the Schedule of Rates (applicable for the area of the work and current at the time of award of contract) and if found feasible the payment would be made at the derived rate for the item plus or minus the overall percentage of the original tendered rates over the current Schedule of Rates prevalent at the time of award of contract.

31.4  	If the rates for additional, substituted or altered item of work cannot be determined either as at 31.1, 31.2 or 31.3 above, the Contractor shall be requested to submit his quotation for the items supported by analysis of the rate or rates claimed, within 7 days.

31.5 	If the Contractor's quotation is determined unreasonable, the Employer may order the Variation and make a change to the Contract Price which shall be based on Employer’s own forecast of the effects of the Variation on the Contractor's costs.

31.6  	If the Employer decides that the urgency of varying the work would prevent a quotation being given and considered without delaying the work, no quotation shall be given and the Variation shall be treated as a Compensation Event.

31.7  	Under no circumstances the Contractor shall suspend the work on the plea of non-settlement of rates for items falling under this Clause.

32.   	Submission of bills for payment

32.1  	The Contractor shall submit to the Employer monthly bills of the value of the work completed less the cumulative amount paid previously.

32.2  	The Employer shall check the Contractor's bill and determine the value of the work executed which shall comprise of (i) value of the quantities of the items in the BOQ completed and (ii) valuation of Variations and Compensation Events.

32.3  	The Employer may exclude any item paid in a previous bill or reduce the proportion of any item previously paid in the light of later information.

33.   	Payments

33.1  	Payments shall be adjusted for deductions for retention, other recoveries in terms of the contract and taxes, at source, as applicable under the law.  The Employer shall pay the Contractor the within 60 days of submission of bill.

33.2  	Items of the Works for which no rate or price has been entered in will not be paid for by the Employer and shall be deemed covered by other rates and prices in the Contract.

34.   	Compensation events

34.1   The following are Compensation events unless they are caused by the Contractor:

(a) The Employer does not give access to a part of the Site by the Site Possession Date stated in the Contract Data.

(b) The Employer orders a delay or does not issue drawings, specifications or instructions required for execution of works on time.

(c) The Employer instructs the Contractor to uncover or to carry out additional tests

upon work which is then found to have no Defects.

(d) The Employer gives an instruction for dealing with an unforeseen condition,

caused by the Employer, or additional work required for safety or other reasons.

(e) The effect on the Contractor of any of the Employer’s Risks.

(f) The Employer unreasonably delays issuing a Certificate of Completion.

(g) Other Compensation Events listed in the Contract Data or mentioned in the

Contract.

34.2  	If a Compensation Event would cause additional cost or would prevent the work being completed before the Intended Completion Date, the Contract Price shall be increased and/or the Intended Completion Date is extended. The Employer shall decide whether and by how much the Contract Price shall be increased and whether and by how much the Intended Completion Date shall be extended.

34.3  	As soon as information demonstrating the effect of each Compensation event upon the Contractor's forecast cost has been provided by the Contractor, it is to be assessed by the Employer and the Contract Price shall be adjusted accordingly. If the Contractor's forecast is deemed unreasonable, the Employer shall adjust the Contract Price based on Employer’s own forecast. The Employer will assume that the Contractor will react competently and promptly to the event.

34.4  	The Contractor shall not be entitled to compensation to the extent that the Employer's interests are adversely affected by the Contractor not having given early warning or not having cooperated with the Employer.

35.  	Tax

35.1  	The rates quoted by the Contractor shall be deemed to be inclusive of the sales and other taxes that the Contractor will have to pay for the performance of this Contract. The Employer will perform such duties in regard to the deduction of such taxes at source as per applicable law.

36.   Liquidated damages

36.1  	The Contractor shall pay liquidated damages to the Employer at the rate per day stated in the Contract Data for each day that the Completion Date is later than the Intended Completion Date.  The total amount of liquidated damages shall not exceed the amount defined in the Contract Data. The Employer may deduct liquidated damages from payments due to the Contractor. Payment of liquidated damages does not affect the Contractor's liabilities.

36.2  	If the Intended Completion Date is extended after liquidated damages have been paid, the Employer shall correct any overpayment of liquidated damages by the Contractor by adjusting the next payment of bill.

37.   	Cost of repairs

37.1  	Loss or damage to the Works or Materials to be incorporated in the Works between the Start Date and the end of the Defects Correction periods shall be remedied by the Contractor at the Contractor's cost if the loss or damage arises from the Contractor's acts or omissions.

E.  	Finishing the Contract

38.  	Completion

38.1  	The Contractor shall request the Employer to issue a Certificate of Completion of the Works and the Employer will do so upon deciding that the Work is completed.

39.  	Taking over

39.1  	The Employer shall take over the Site and the Works within seven days of issuing a certificate of Completion.

40.   	Final account

40.1  	The Contractor shall supply to the Employer a detailed account of the total amount that the Contractor considers payable under the Contract before the end of the Defects Liability Period. The Employer shall issue a Defect Liability Certificate and certify any final payment that is due to the Contractor within 90 days of receiving the Contractor's account if it is correct and complete. If it is not, the Employer shall issue within 90 days a schedule that states the scope of the corrections or additions that are necessary. If the Final Account is still unsatisfactory after it has been resubmitted, the Employer shall decide on the amount payable to the Contractor and make payment within 60 days of receiving the Contractor’s revised account.

41.  	As-built drawings

41.1  	Not applicable.

41.2 	Not applicable.

42.   	Termination

42.1  	The Employer or the Contractor may terminate the Contract if the other party causes a fundamental breach of the Contract.

42.2  	Fundamental breaches of Contract include, but shall not be limited to the following:

(a) The Contractor stops work for 45 days when no stoppage of work is shown on the current Program and the stoppage has not been authorized by the Employer;

(b) The Employer instructs the Contractor to delay the progress of the Works and the instruction is not withdrawn within 60 days;

(c) The Contractor becomes bankrupt or goes into liquidation other than for a

reconstruction or amalgamation;

(d) a payment due to the Contractor is not paid by the Employer within 90 days of

the date of the submission of the Bill by Contractor;

(e) the Employer gives Notice that failure to correct a particular Defect is a

fundamental breach of Contract and the Contractor fail to correct it within a

reasonable period of time determined by the Employer;

(f) the Contractor does not maintain a security which is required;

(g) the Contractor has delayed the completion of works by the number of days for

which the maximum amount of liquidated damages can be paid as defined in the

Contract data; and

(h) if the Contractor, in the judgment of the Employer has engaged in corrupt or fraudulent practices in competing for or in the executing the Contract.

For the purpose of this paragraph: “corrupt practice” means the offering, giving, receiving or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution. “Fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Borrower, and includes collusive practice among Tenderers (prior to or after Tender submission) designed to establish Tender prices at artificial non-competitive levels and to deprive the Borrower of the benefits of free and open competition.”

42.3  	When either party to the Contract gives notice of a breach of contract to the Employer for a cause other than those listed under Sub Clause 42.2 above, the Employer shall decide whether the breach is fundamental or not.

42.4  	Notwithstanding the above, the Employer may terminate the Contract for convenience.

42.5  	If the Contract is terminated the Contractor shall stop work immediately, make the Site safe and secure and leave the Site as soon as reasonably possible.

43.   	Payment upon Termination

43.1  	If the Contract is terminated because of a fundamental breach of Contract by the Contractor, the Employer shall prepare bill for the value of the work done less advance payments received up to the date of the bill, less other recoveries due in terms of the contract, less taxes due to be deducted at source as per applicable law and less the percentage to apply to the work not completed as indicated in the Contract Data. Additional Liquidated Damages shall not apply.  If the total amount due to the Employer exceeds any payment due to the Contractor the difference shall be a debt payable to the Employer.

43.2  	If the Contract is terminated at the Employer's convenience or because of a fundamental breach of Contract by the Employer, the Employer shall prepare bill for the value of the work done, the reasonable cost of removal of Equipment, repatriation of the Contractor's personnel employed solely on the Works, and the Contractor's costs of protecting and securing the Works and less advance payments received up to the date of the certificate, less other recoveries due in terms of the contract, and less taxes due to be deducted at source as per applicable law and make payment accordingly.

44.   	Property

44.1 	All materials on the Site, Plant, Equipment, Temporary Works and Works are deemed to be the property of the Employer, if the Contract is terminated because of a contractor’s default.

45.   	Release from performance

45.1 	If the Contract is frustrated by any event entirely outside the control of either the Employer or the Contractor the Employer shall certify that the Contract has been frustrated. The Contractor shall make the Site safe and stop work as quickly as possible after receiving this certificate and shall be paid for all work carried out before receiving it and for any work carried out afterwards to which commitment was made.

F.   	Special Conditions of Contract

- Labour :

The Contractor shall, unless otherwise provided in the Contract, make his own arrangements for the engagement of all staff and labour, local or other, and for their payment, housing, feeding and transport.

The Contractor shall, if required by the Employer, deliver to the Employer a return in detail, in such form and at such intervals as the Employer may prescribe, showing the staff and the numbers of the several classes of labour from time to time employed by the Contractor on the Site and such other information as the Employer may require.

2.  	Compliance with labour regulations:

During continuance of the contract, the Contractor and his subcontractors shall abide at all times by all existing labour enactments and rules made there under, regulations, notifications and bye laws of the State or Central Government or local authority and any other labour law (including rules), regulations, bye laws that may be passed or notification that may be issued under any labour law in future either by the State or the Central Government or the local authority. The Contractor shall keep the Employer indemnified in case any action is taken against the Employer by the competent authority on account of contravention of any of the provisions of any Act or rules made there under, regulations or notifications including amendments. If the Employer is caused to pay or reimburse, such amounts as may be necessary to cause or observe, or for non-observance of the provisions stipulated in the notifications/bye laws/Acts/Rules/regulations including amendments, if any, on the part of the Contractor, Employer shall have the right to deduct any money due to the Contractor including his amount of security deposit.  The Employer shall also have right to recover from the Contractor any sum required or estimated to be required for making good the loss or damage suffered by the Employer.

The employees of the Contractor and the Sub-Contractor in no case shall be treated as the employees of the Employer at any point of time.

3.   	Protection of Environment:

The contractor shall take all reasonable steps to protect the environment on and off the Site and to avoid damage or nuisance to persons or to property of the public or others resulting from pollution, noise or other causes arising as a consequence of his methods of operation. During continuance of the contract, the contractor and his sub-contractors shall abide at all times by all existing enactments on environmental protection and rules made there under, regulations, notifications and bye-laws of the State or Central Government, or local authorities and any other law, bye-law, regulations that may be passed or notification that may be issued in this respect in future by the State or Central Government or the local authority.

SECTION 5: CONTRACT DATA

The following documents are also part of the Contract: Clause Reference

The Employer is:

Office of the Executive Engineer,							 [1.1]

Kaveri - Operation & Maintenance-2

Division, Harohalli-562112.

The name and identification number of the Contract is 				[1.1]

BWSSB/EE(K-O&M)-2/PB/3050/2025-26         Date: 24/03/2026

The Works consist of Tender for the work of replacement of old Pneumatic Operated SF-6 Breaker with new Spring operated 220KV SF6 Circuit Braker in NRS (Vrushabhavathi) Tataguni 220KV incoming power supply line in 220KV Power Receiving Substation in Tataguni. (Short Term Tender-Call-3).

The start date shall be the date of issue of notice to proceed with the work.  	[1.1]

The Intended Completion Date for the whole of the Works is 12 months from the date of issue of letter of commencement/work order						[15, 22]

The following documents also form part of the Contract:   				[2.2]

The Site Possession Date is: date of issue of Work Order				[18]

The site (Pumping station) is located at Harohalli &Tataguni, Approx. 40Km.

& 20Km Respectively from Bangalore City

The Defects Liability Period is 365 days from the date of actual

Completion of work.									[27]

The liquidated damages for the whole of the works are 0.1% per day on the contract

value of the work						                                  [36]

The maximum amount of liquidated damages for the whole of the works, 	 [36]

if the work is abandoned, is ten percent of final contract price.

The following events shall also be fundamental breach of the contract:   		[42.2]

1. The contractor has contravened Sub-clause 7.1 and Clause 9 of CC.

The percentage to apply to the value of the work not completed representing the Employer's additional cost for completing the Works shall be 30 percent.	[43.1]

SECTION 6:	SPECIFICATIONS / SCOPE OF WORK

As per the descriptions mentioned in the bill of quantities.

SECTION 7: DRAWINGS

SECTION 9: FORMAT OF UNCONDITIONAL BANK GUARANTEE

To: __________________________________________________________ [name of Employer] __________________________________________________________[address of Employer] WHEREAS _________________________ [name and address of Contractor] (hereinafter called "the Contractor") has undertaken, in pursuance of Contract No. _____ dated ________________ to execute __________________________ [name of Contract and brief description of Works] (hereinafter called "the Contract");

AND WHEREAS it has been stipulated by you in the said Contract that the Contractor shall furnish you with a Bank Guarantee by a recognized bank for the sum specified therein as security for compliance with his obligations in accordance with the Contract;

AND WHEREAS we have agreed to give the Contractor such a Bank Guarantee;

NOW THEREFORE we hereby affirm that we are the Guarantor and responsible to you, on behalf of the Contractor, up to a total of Rs.____________________ [amount of guarantee] Rupees__________________________ __________________________[in words], and we undertake to pay you, upon your first written demand and without cavil or argument, any sum or sums within the limits of ____________________ [amount of guarantee] as aforesaid without your needing to prove or to show grounds or reasons for your demand for the sum specified therein.

We hereby waive the necessity of your demanding the said debt from the Contractor before presenting us with the demand.

We further agree that no change or addition to or other modification of the terms of the Contract or of the Works to be performed there under or of any of the Contract documents which may be made between you and the Contractor shall in any way release us from any liability under this guarantee, and we hereby waive notice of any such change, addition or modification.

This guarantee shall be valid until 30 days from the date of expiry of the Defects Liability Period.

Signature and seal of the guarantor _____________________________

Name of Bank _____________________________________________

Address __________________________________________________

Date ___________________________________