## Tx (Rev.1)
POWER TRANSFORMER
FORM PD 711
Jan. 2026
PROPOSAL DATA
PROCUREMENT REFERENCE |  |  |  |  | TIPN-TX-04 | SCHEDULE NO.
BIDDER | [5 empty] | ITEM NO.
PART A All Bidders shall meet the following requirements; failure to so comply shall constitute sufficient ground for rejection. (Strictly requirement)
a. | Manufacturer / Country
In case of proposing the transformer not from an
original factory, please specify the name of parent
manufacturer/company
b. | Type
c. | Core Construction Type | [5 empty] | Core | [5 empty] | Shell
d. | Applied Standards
e. | Type of Cooling | [5 empty] | ONAN/ONAF/ONAF
f. | Continuous Max. Rated Power
|  | -HV Side | [13 empty] | MVA
|  | -LV Side | [13 empty] | MVA
|  | -TV Side | [13 empty] | MVA
g. | Rated Voltage |  |  | -HV / LV / TV | [11 empty] | kV
h. | Rated Current at Max. Rating -HV / LV / TV | [14 empty] | A
i. | Rated Lightning Impulse Withstand Voltage (BIL) of Windings
|  |  |  | -HV / LV / TV / Neutral | [11 empty] | kV
j. | Impedance Voltage bases on Max. Rating of |  |  |  |  | Max. Tap |  |  |  | Rated Tap |  |  | Min. Tap
| Each Winding at Tap Voltage, Current, |  |  |  |  | Voltage |  |  |  | Voltage |  |  | Voltage
Frequency and 80 °C
Positive Sequence
|  |  | HV-LV | ( | MVA Base) | [10 empty] | %
|  |  | LV-TV | ( | MVA Base) | [10 empty] | %
|  |  | HV-TV | ( | MVA Base) | [10 empty] | %
Zero Sequence
|  |  | HV-LV | ( | MVA Base) | [10 empty] | %
|  |  | LV-TV | ( | MVA Base) | [10 empty] | %
|  |  | HV-TV | ( | MVA Base) | [10 empty] | %
Transformer with De-Energized Tap Changer
Positive Sequence HV-LV
|  |  |  | ( | MVA Base)
|  |  | Max. Tap of De-Energized Tap Changer | [12 empty] | %
|  |  | Min. Tap of De-Energized Tap Changer | [12 empty] | %
Tolerance for HV-LV Positive Sequence
| Impedance of All Taps Connection | [14 empty] | %
Remark
k. | Temperature Rise
|  | - Average Winding / Hot-spot Winding | [13 empty] | °C
|  | - Top Insulating Liquid | [13 empty] | °C
l. | Sound Pressure Level
- No load audible sound level at Rated Voltage and Frequency:
|  | Without Fan / With All Fans | [13 empty] | dB(A)
- Load audible sound level at Rated Current and Frequency:
|  | Without Fan / With All Fans | [13 empty] | dB(A)
m. | Transformer Tank
|  | -Transformer Cover: Welded Type | [9 empty] | Confirm
|  | -Transformer Base: Structural Steel Skid Base | [9 empty] | Confirm
n. | Regulated Capacity
|  | - Full Capacity at all Tap | [9 empty] | Confirm
o. | Pressure Withstanding
|  | -Tank | [13 empty] | kg/cm2
|  | -Conservator | [13 empty] | kg/cm2
p. | Shipping Weight | [14 empty] | kg
q. | Shipping Dimension |  |  |  |  | Width |  |  |  | Length |  |  | Height
m × m × m
Remark
Guarantee Period | [15 empty] | Years
Guaranteed Characteristics
| -No-load Loss at Rated Voltage and Frequency | [14 empty] | kW
-Load Loss at Rated Current, Frequency and
Max. Capacity at 80 oC
|  | HV-LV | [8 empty] | kW |  | ( |  |  | MVA Base)
|  | LV-TV | [8 empty] | kW |  | ( |  |  | MVA Base)
|  | HV-TV | [8 empty] | kW |  | ( |  |  | MVA Base)
-Auxiliary Power Loss (Fans and/or Pumps)
| at Max. Capacity of Transformer | [14 empty] | kW
-Total Losses at Rated Voltage, Frequency and
Max. Capacity Including Power Requirement
for Fans and/or Oil Pumps
| (Excluding HV-TV and LV-TV Load Loss) | [14 empty] | kW
Important Notice
1) | The guaranteed characteristics of no-load loss, auxiliary power loss and HV-LV load loss, excluding HV-TV and LV-TV load loss, shall be evaluated and included in the bid price for cost evaluation with the rate of
420,000 Baht for each kW or part thereof of the guaranteed no-load loss.
189,000 Baht for each kW or part thereof of the guaranteed load loss and auxiliary power loss.
If the transformers fail to meet the guaranteed characteristics herein indicated, the price of transformers shall be reduced in accordance with the condition specified in Article : Penalty for Equipment not Meeting Guaranteed Characteristics.
Remark
PART B All Bidders should preferably meet the following technical requirements; failure to so comply may constitute sufficient ground for rejection.
a. | Winding |  |  |  |  | HV (Series) |  | LV (Common) |  |  | TV |  |  | Tap |  | Reactor (If any)
-Conductor Supplier Name / Country
-Winding Type
(Disk, Helical, Layer, Pancake, etc.)
-Conductor Type (Rectangular,
CTC : Continuous Transposed Cable,
Bonded CTC, etc.)
|  | -Proof Stress with Permanent | [14 empty] | kg/cm2
Elongation of 0.2% (σ0.2) of Copper
|  | -Clamping Force of Each Winding Before | [14 empty] | kg
Assembly (at Stabilizing Process)
|  | -Final Clamping Force of All Windings | [14 empty] | kg
After Core and Coils Assembly
|  | -Tapping Winding Location |  |  |  |  | in Main Winding
Separate Winding
|  | -Internal Non-linear Protective Device |  |  |  |  | With |  |  |  |  | Without
|  | If Provide, Please Specified the Location |  |  |  |  | HV (Series Winding)
LV (Common) Winding
[7 empty] | TV Winding |  |  |  |  | Reactor
Tap Winding
-Concentric Sequence from Core to Outwards
(Sequence of Coil Group, if interleaved)
b. | Core | -Supplier Name / Country
-Material / Grade (ZDKH, M2H, M4, etc.)
-Numbers of Limb or Leg
|  | -Flux Density at Rated Voltage | [13 empty] | Tesla
|  | -Core Diameter | [13 empty] | mm
(Cross Section W×L, if rectangular)
|  | -Core Sheet Thickness | [13 empty] | mm
|  | -Loss at Rated Voltage, 50 Hz | [13 empty] | W/kg
|  | -Clamping Method |  |  | -Leg
-Yoke
c. | De-Energized Tap Changer
-Manufacturer / Country
-Type / Model No.
|  | -Voltage Tapping Range | [13 empty] | kV
Remark
d. | On Load Tap Changer (LTC)
-Manufacturer / Country
-Type / Model No.
|  | -Max. Rated Through Current | [13 empty] | A
|  | -Max. Allowable Step Voltage | [13 empty] | V
|  | -Rated Impulse Withstand Voltage | [13 empty] | kV
|  | -Short Time Withstand Current / Duration | [8 empty] | kA / |  |  |  |  | s
-Tapping Range and Volts per Step
|  | -Operating Time for One Complete Tap | [13 empty] | s
-Time Interval Before Operation in
|  | another Series of One Cycle | [13 empty] | s
|  | -Tap Positions provided with Idle Tap |  |  |  |  | Yes |  |  |  |  | No
|  | -Location of LTC in Tap Winding |  |  |  |  | Line End |  |  |  |  | Neutral
Middle
-Compartment of Diverter Switch and Tap Selector
[7 empty] | Separate |  |  |  |  | Combine
-Diverter Switch
|  |  | -Contact Life (Switching Operation) | [12 empty] | Times
-Inspection Interval
|  |  |  | -Switching Operation | [11 empty] | Times
|  |  |  | -Equivalent to (Whichever is Earlier) | [11 empty] | Years
-The Transition Resistor Withstand One
|  |  | Cycle of Uninterrupted Operation |  |  |  | Yes |  |  |  |  | No
-Internal Gas Pressure Withstanding
|  |  | for Diverter Switch Tank | [12 empty] | kg/cm2
|  |  | -Operating Time | [12 empty] | ms
|  |  | -Resistance of Transition Resistor | [12 empty] | W
-Motor Drive Mechanism
-Manufacturer / Country
-Type / Model No.
-Voltage Rating
|  |  |  | -Motor Circuit | [11 empty] | V
|  |  |  | -Control Circuit (125 VDC is preferred) | [11 empty] | V
-Oil Filter Unit
-Manufacturer / Country
-Type / Model No.
-Voltage Rating
|  |  |  | -Motor Circuit | [11 empty] | V
|  |  |  | -Control Circuit | [11 empty] | V
Remark
e. | High Voltage Bushing
-Manufacturer / Country
-Model No.
|  | -Housing |  |  |  |  | Porcelain |  |  |  |  | Composite
|  | -Type |  |  |  |  | Condenser |  |  |  |  | Draw Lead
[7 empty] | Solid |  |  |  |  | Fixed Conductor
Other
|  | -Power Freq. Withstand (Dry / Wet) | [13 empty] | kV
|  | -Rated Lightning Impulse Withstand Voltage (BIL) | [13 empty] | kV
|  | -Rated Current | [13 empty] | A
|  | -Creepage Distance | [13 empty] | mm
f. | Low Voltage Bushing
-Manufacturer / Country
-Model No.
|  | -Housing |  |  |  |  | Porcelain |  |  |  |  | Composite
|  | -Type |  |  |  |  | Condenser |  |  |  |  | Draw Lead
[7 empty] | Solid |  |  |  |  | Fixed Conductor
Other
|  | -Power Freq. Withstand (Dry / Wet) | [13 empty] | kV
|  | -Rated Lightning Impulse Withstand Voltage (BIL) | [13 empty] | kV
|  | -Rated Current | [13 empty] | A
|  | -Creepage Distance | [13 empty] | mm
g. | Tertiary Bushing
-Manufacturer / Country
-Model No.
|  | -Housing |  |  |  |  | Porcelain |  |  |  |  | Composite
|  | -Type |  |  |  |  | Condenser |  |  |  |  | Draw Lead
[7 empty] | Solid |  |  |  |  | Fixed Conductor
Other
|  | -Power Freq. Withstand (Dry / Wet) | [13 empty] | kV
|  | -Rated Lightning Impulse Withstand Voltage (BIL) | [13 empty] | kV
|  | -Rated Current | [13 empty] | A
|  | -Creepage Distance | [13 empty] | mm
h. | Neutral Bushing
-Manufacturer / Country
-Model No.
|  | -Housing |  |  |  |  | Porcelain |  |  |  |  | Composite
|  | -Type |  |  |  |  | Condenser |  |  |  |  | Draw Lead
[7 empty] | Solid |  |  |  |  | Fixed Conductor
Other
|  | -Power Freq. Withstand (Dry / Wet) | [13 empty] | kV
|  | -Rated Lightning Impulse Withstand Voltage | [13 empty] | kV
|  | -Rated Current | [13 empty] | A
|  | -Creepage Distance | [13 empty] | mm
Remark
i. | Bushing Current Transformer (BCT) As Required | [5 empty] | Yes |  |  |  |  | No
-Manufacturer / Country
j. | BCT for LTC Overcurrent Protection
-Manufacturer / Country
-Model No.
|  | -Current Ratio | [13 empty] | A
|  | -Accuracy Class / Burden | [13 empty] | VA
k. | Radiator Manufacturer / Country
|  | -Pressure Withstanding | [13 empty] | kg/cm2
l. | Rubber Bag Manufacturer / Country
|  | -Pressure Withstanding | [13 empty] | kg/cm2
m. | Insulating Material
Winding Insulation Paper
-Manufacturer/Country
-Temp. Class
Pressboard and Other Insulating Material
-Manufacturer/Country
-Temp. Class
n. | Insulating Oil
|  | -Type |  |  |  |  | Uninhibited |  |  |  |  | Inhibited
-Manufacturer / Country
- Additive Content
|  |  | -Oxide Inhibitor Content | [12 empty] | %
|  |  | -Other Additive Content | [12 empty] | %
(Please specify the purpose of other additives)
-Manufacturer Type (Generic Name)
-Applied Standard
o. | Weight
|  | -Core | [13 empty] | kg
|  | -Coils | [13 empty] | kg
|  | -Insulating Material (Pressboard and Paper) | [13 empty] | kg
|  | -Tank and Fittings | [13 empty] | kg
-Quantity of Oil Furnished
|  |  | -Transformer | [7 empty] | kg |  |  |  |  | Litre
|  |  | -On Load Tap Changer | [7 empty] | kg |  |  |  |  | Litre
|  | -Total Weight With Oil | [13 empty] | kg
p. | Dimension |  |  |  |  | Width |  |  |  | Length |  |  | Height
|  | -Overall Dimension | [13 empty] | m × m × m
q. | Uprighting of Main Tank at Site | [5 empty] | Not Required
Remark
(For Core Type) This part will be kept as a confidential data by EGAT.
| Winding Data |  |  |  |  | HV (Series) |  | LV (Common) |  |  | TV |  |  | Tap
|  | Winding Height (Coil Part Only) | [13 empty] | mm
|  | Winding Width | [13 empty] | mm
Gap Distance
|  |  | -Between Top Yoke and Winding | [12 empty] | mm
|  |  | -Between Bottom Yoke and Winding | [12 empty] | mm
|  | Inner Radius of Winding | [13 empty] | mm
Number of Turns
Number of Disk or Layer
Number of Turns Per Disk or Layer
Number of Conductor or Cable per Turn
Stranded Copper Conductor or Cable
|  |  | - Conductor Strand Dimension | [12 empty] | mm × mm
- Number of Strands per Conductor
|  |  | - Stiffness (EI Product) of Stranded | [12 empty] | %
Conductor in Percent of Equivalent
Solid Copper Bar
|  |  | Note | E = Modulus of Elasticity
I = Moment of Inertia
|  | Winding Resistance per Phase (at 80 oC) | [13 empty] | W/phase
|  | Current Density at Rated Tap Voltage | [13 empty] | A/mm2
|  | Cross Section Area of Conductor per Turn | [13 empty] | mm2
|  | Copper Weight per Phase | [13 empty] | kg
Radial Spacer Block Between Disk
-Number of Spacer Blocks
|  |  | -Spacer Block Width | [12 empty] | mm
|  |  | -Spacer Block Pitch | [12 empty] | mm
Axial Spacer Column Under Winding
-Number of Spacer Columns
|  |  | -Spacer Column Size | [12 empty] | mm
|  | Are There Any Axial Spacer Columns |  |  |  |  | Yes |  |  | Yes |  | Yes |  |  | Yes
|  | (Cooling Ducts) Between Turns or Layer? |  |  |  |  | No |  |  | No |  | No |  |  | No
If Yes, Please Show Details.
For instance, In a disk winding which has
6 turns per disk inserted with cooling
duct between every 2 turns shall be
specified as 2 / 2 / 2
Important Notice
2) | Detailed calculation showing the electro-mechanical stress / force and short circuit current as proposed in Part C, item a. and b. and information in Winding Data of PART A and B associated with stress-strain curve of proposed copper shall be submitted together with tender document during the bidding as an evidence for consideration of evaluation.
Remark
| Winding Data |  |  |  |  | Reactor (If Any)
Construction (Air core, Gapped core, etc.)
|  | Winding Height (Coil Part Only) | [13 empty] | mm
|  | Winding Width | [13 empty] | mm
Gap Distance
|  |  | -Between Top Yoke and Winding | [12 empty] | mm
|  |  | -Between Bottom Yoke and Winding | [12 empty] | mm
|  | Inner Radius of Winding | [13 empty] | mm
Number of Turns
Number of Disk or Layer
Number of Turns Per Disk or Layer
Number of Conductor or Cable per Turn
Stranded Copper Conductor or Cable
|  |  | - Conductor Strand Dimension | [12 empty] | mm × mm
- Number of Strands per Conductor
|  |  | - Stiffness (EI Product) of Stranded | [12 empty] | %
Conductor in Percent of Equivalent
Solid Copper Bar
|  |  | Note | E = Modulus of Elasticity
I = Moment of Inertia
|  | Winding Resistance per Phase (at 80 oC) | [13 empty] | W/phase
|  | Current Density at Rated Tap Voltage | [13 empty] | A/mm2
|  | Cross Section Area of Conductor per Turn | [13 empty] | mm2
|  | Copper Weight per Phase | [13 empty] | kg
Radial Spacer Block Between Disk
-Number of Spacer Blocks
|  |  | -Spacer Block Width | [12 empty] | mm
|  |  | -Spacer Block Pitch (at outermost diameter center to center) | [12 empty] | mm
Axial Spacer Column Under Winding
-Number of Spacer Columns
|  |  | -Spacer Column Size | [12 empty] | mm
|  | Are There Any Axial Spacer Columns | [7 empty] | Yes |  | No
(Cooling Ducts) Between Turns or Layer?
If Yes, Please Show Details.
For instance, In a disk winding which has
6 turns per disk inserted with cooling
duct between every 2 turns shall be
specified as 2 / 2 / 2
| Note : | 1. Please show winding connection diagram between Reactor and Winding.
2. If there are protective devices, Please provide information of specification and rating.
3. Detailed calculation showing the electro-mechanical stress / force and short circuit current for Reactor winding and information of stress-strain curve of proposed copper shall be submitted together with tender document during the bidding as an evidence for consideration of evaluation.
Remark
(For Shell Type) This part will be kept as a confidential data by EGAT.
| Winding Data |  |  |  |  | HV (Series) |  | LV (Common) |  |  | TV |  |  | Tap
Number of Turns
Number of Coil Group
Number of Disk per Coil Group
|  | Winding Resistance per Phase (at 80 oC) | [13 empty] | W/phase
|  | Current Density at Rated Tap Voltage | [13 empty] | A/mm2
|  | Cross Section Area of Conductor per Turn | [13 empty] | mm2
|  | Copper Weight per Phase | [13 empty] | kg
The above required data are specified for overview of each winding. In addition to “PART B (for Shell Type)”, bidder shall submit the sketch or drawing of coil groups in the core window, which is clearly shown the arrangement of each disk (pan cake disk). The coil group dimension and the clearance dimension between pan cake disks shall be included. Each disk shall also be given with the following information:-
- Dimension on The Disk (inner and outer of circumference)
- Number of Turns
- Number of Conductor or Cable per Turn
- Number of Strand per Conductor or Cable
- Copper Weight of Disk
- Cooling Duct on The Disk (Size, Thickness and Clearance between Ducts)
The construction dimension of tank structure subjected to the short circuit force shall be submitted.
Important Notice
2) | Detailed calculation showing the electro-mechanical stress / force and short circuit current as proposed in Part C, item a. and b. and information in Winding Data of PART A and B associated with stress-strain curve of proposed copper shall be submitted together with tender document during the bidding as an evidence for consideration of evaluation.
Remark
PART C Information for reference
a. | Electro-Mechanical Stress/Force |  |  |  |  | Occurring (1) |  |  | Design to be (2) |  |  |  | Critical (3)
| under Short Circuit Condition |  |  |  |  | Level |  |  | Withstand Level |  |  |  | Level
Radial Hoop Compressive Stress
|  |  | -HV(Series) Winding | [12 empty] | kg/cm2
|  |  | -LV(Common) Winding | [12 empty] | kg/cm2
|  |  | -TV Winding | [12 empty] | kg/cm2
|  |  | -Tap Winding | [12 empty] | kg/cm2
Radial Tensile Stress
|  |  | -HV(Series) Winding | [12 empty] | kg/cm2
|  |  | -LV(Common) Winding | [12 empty] | kg/cm2
|  |  | -TV Winding | [12 empty] | kg/cm2
|  |  | -Tap Winding | [12 empty] | kg/cm2
Max. Axial Bending Stress on Conductor
|  |  | -HV(Series) Winding | [12 empty] | kg/cm2
|  |  | -LV(Common) Winding | [12 empty] | kg/cm2
|  |  | -TV Winding | [12 empty] | kg/cm2
|  |  | -Tap Winding | [12 empty] | kg/cm2
Tilting Force on Conductor
|  |  | -HV(Series) Winding | [12 empty] | kg
|  |  | -LV(Common) Winding | [12 empty] | kg
|  |  | -TV Winding | [12 empty] | kg
|  |  | -Tap Winding | [12 empty] | kg
Axial Stress on Spacer Surface
|  |  | -HV(Series) Winding | [12 empty] | kg/cm2
|  |  | -LV(Common) Winding | [12 empty] | kg/cm2
|  |  | -TV Winding | [12 empty] | kg/cm2
|  |  | -Tap Winding | [12 empty] | kg/cm2
Maximum Axial Compressive Force
|  |  | -HV(Series) Winding | [12 empty] | kg
|  |  | -LV(Common) Winding | [12 empty] | kg
|  |  | -TV Winding | [12 empty] | kg
|  |  | -Tap Winding | [12 empty] | kg
Maximum Winding End Support Force
|  |  | -Upper Support (for Core Type) | [12 empty] | kg
|  |  | -Lower Support (for Core Type) | [12 empty] | kg
|  |  | -Tank and Core (for Shell Type) | [12 empty] | kg
(1) Values from proposed short circuit current calculation.
(2) Design levels proposed by Bidder.
(3) If the stresses/forces exceed these levels, the transformer will be damaged.
Number of Fault Occurrence Rates which the Transformer
Can Withstand with Expected Transformer Life of 25 Years
|  | -100% | Current Intensity | [12 empty] | Times/Year
|  | -50% | Current Intensity | [12 empty] | Times/Year
|  | -20% | Current Intensity | [12 empty] | Times/Year
Where 100 % Current Intensity Means the Maximum Value of the Short Circuit Current.
Remark
b. | Short Circuit condition applied for |  |  |  |  | HV (Series) |  | LV (Common) |  |  | TV |  |  | Tap
| Electro-Mechanical Stress/Force. |  |  |  |  | (Series) |  | (Common)
Radial Hoop Compressive Stress
Fault Type (3f ,1f-G, etc.)
Fault Side
Tap Position
System Zero Sequence Impedance in
Term of X0/X1 (for 1f-G fault)
-HV Side (X0H/X1H)
-LV Side (X0L/X1L)
Short Circuit Current in Winding
|  |  | -Symmetrical Current | [12 empty] | kA rms
|  |  | -Asymmetrical Current | [12 empty] | kA peak
|  | Voltage Level in Percent of Rated | [13 empty] | %
Tap Voltage Maintain on Unfault
Terminal During Short Circuit
Radial Tensile Stress
Fault Type (3f ,1f-G, etc.)
Fault Side
Tap Position
System Zero Sequence Impedance in
Term of X0/X1 (for 1f-G fault)
-HV Side (X0H/X1H)
-LV Side (X0L/X1L)
Short Circuit Current in Winding
|  |  | -Symmetrical Current | [12 empty] | kA rms
|  |  | -Asymmetrical Current | [12 empty] | kA peak
|  | Voltage Level in Percent of Rated | [13 empty] | %
Tap Voltage Maintain on Unfault
Terminal During Short Circuit
Axial Bending Stress on Conductor
Fault Type (3f ,1f-G, etc.)
Fault Side
Tap Position
System Zero Sequence Impedance in
Term of X0/X1 (for 1f-G fault)
-HV Side (X0H/X1H)
-LV Side (X0L/X1L)
Short Circuit Current in Winding
|  |  | -Symmetrical Current | [12 empty] | kA rms
|  |  | -Asymmetrical Current | [12 empty] | kA peak
|  | Voltage Level in Percent of Rated | [13 empty] | %
Tap Voltage Maintain on Unfault
Terminal During Short Circuit
Remark
[6 empty] | HV (Series) |  | LV (Common) |  |  | TV |  |  | Tap
| Tilting Force on Conductor |  |  |  |  | (Series) |  | (Common)
Fault Type (3f ,1f-G, etc.)
Fault Side
Tap Position
System Zero Sequence Impedance in
Term of X0/X1 (for 1f-G fault)
-HV Side (X0H/X1H)
-LV Side (X0L/X1L)
Short Circuit Current in Winding
|  |  | -Symmetrical Current | [12 empty] | kA rms
|  |  | -Asymmetrical Current | [12 empty] | kA peak
|  | Voltage Level in Percent of Rated | [13 empty] | %
Tap Voltage Maintain on Unfault
Terminal During Short Circuit
Axial Stress on Spacer Surface
Fault Type (3f ,1f-G, etc.)
Fault Side
Tap Position
System Zero Sequence Impedance in
Term of X0/X1 (for 1f-G fault)
-HV Side (X0H/X1H)
-LV Side (X0L/X1L)
Short Circuit Current in Winding
|  |  | -Symmetrical Current | [12 empty] | kA rms
|  |  | -Asymmetrical Current | [12 empty] | kA peak
|  | Voltage Level in Percent of Rated | [13 empty] | %
Tap Voltage Maintain on Unfault
Terminal During Short Circuit
Maximum Axial Compressive Force
Fault Type (3f ,1f-G, etc.)
Fault Side
Tap Position
System Zero Sequence Impedance in
Term of X0/X1 (for 1f-G fault)
-HV Side (X0H/X1H)
-LV Side (X0L/X1L)
Short Circuit Current in Winding
|  |  | -Symmetrical Current | [12 empty] | kA rms
|  |  | -Asymmetrical Current | [12 empty] | kA peak
|  | Voltage Level in Percent of Rated | [13 empty] | %
Tap Voltage Maintain on Unfault
Terminal During Short Circuit
Remark
[6 empty] | HV (Series) |  | LV (Common) |  |  | TV |  |  | Tap
| Maximum Winding End Support Force |  |  |  |  | (Series) |  | (Common)
Fault Type (3f ,1f-G, etc.)
Fault Side
Tap Position
System Zero Sequence Impedance in
Term of X0/X1 (for 1f-G fault)
-HV Side (X0H/X1H)
-LV Side (X0L/X1L)
Short Circuit Current in Winding
|  |  | -Symmetrical Current | [12 empty] | kA rms
|  |  | -Asymmetrical Current | [12 empty] | kA peak
|  | Voltage Level in Percent of Rated | [13 empty] | %
Tap Voltage Maintain on Unfault
Terminal During Short Circuit
c. | Excitation Current in % of Full Load Current
| at 110% / 100% / 90% / 80 % Rated Voltage | [14 empty] | %
d. | Overexcitation Capability Duration Time
| at 110% / 120% / 130% / 150 % of Rated Voltage | [14 empty] | s
Information of Guaranteed Loss for Reference (from PART A)
| -DC Resistance Loss and Stray Loss at Rated Voltage, |  |  |  |  | DC Resistance |  |  |  |  | Stray Loss
| Frequency and Max. Capacity at 80 oC |  |  |  |  | Loss
|  | HV-LV |  | ( | MVA Base) |  |  |  |  | kW |  |  |  |  | kW
|  | LV-TV |  | ( | MVA Base) |  |  |  |  | kW |  |  |  |  | kW
|  | HV-TV |  | ( | MVA Base) |  |  |  |  | kW |  |  |  |  | kW
-Stray Loss Component at Rated Voltage, Frequency and Max. Capacity at 80 oC
|  | -Eddy Loss in Conductor of Each Winding |  |  |  | HV (Series) |  | LV (Common) |  |  | TV |  |  | Tap
[6 empty] | (Series) |  | (Common)
|  |  | HV-LV | ( | MVA Base) | [10 empty] | kW
|  |  | LV-TV | ( | MVA Base) | [10 empty] | kW
|  |  | HV-TV | ( | MVA Base) | [10 empty] | kW
-Eddy Loss in Core and Clamping Frame
|  |  | HV-LV | ( | MVA Base) | [10 empty] | kW
|  |  | LV-TV | ( | MVA Base) | [10 empty] | kW
|  |  | HV-TV | ( | MVA Base) | [10 empty] | kW
-Eddy Loss in Tank Shield and Other Metallic Parts
|  |  | HV-LV | ( | MVA Base) | [10 empty] | kW
|  |  | LV-TV | ( | MVA Base) | [10 empty] | kW
|  |  | HV-TV | ( | MVA Base) | [10 empty] | kW
Remark

## SA (Rev.1)
SURGE ARRESTER
FORM PD 741
Jan. 2026
PROPOSAL DATA
PROCUREMENT REFERENCE |  |  | TIPN-TX-04 | SCHEDULE NO.
BIDDER |  |  |  | ITEM NO.
a. | Manufacturer / Country
- For SA
- For Supporting Structure
b. | Type / Model / Catalog No.
c. | Applied Standards
d. | Class (Station or Distribution)
e. | Arrester Voltage Rating |  |  |  |  | kVrms
f. | Nominal discharge current |  |  |  |  | kA
g. | Arrester Insulation Withstand
|  | - For Lightning impulse / Switching impulse / Power-frequency |  |  |  | kV
h. | Rated Frequency |  |  |  |  | Hz
i. | Continuous Operating Voltage (UC) |  |  |  |  | kVrms
j. | Steep Current Impulse Residual Voltage |  |  |  |  | kVcrest
k. | Switching Impulse Residual Voltage |  |  |  |  | kVcrest
l. | Lightning Impulse Residual Voltage at 5 / 10 / 20 / 40 kA |  |  |  |  | kVcrest
m. | Repetitive Charge Transfer Rating (Qrs) |  |  |  |  | C
n. | Thermal Energy Rating (Wth) |  |  |  |  | kJ/kV
o. | Rated Short Circuit Current |  |  |  |  | kA
p. | Power Frequency Reference Voltage |  |  |  |  | kVrms
q. | Power Frequency Reference Current |  |  |  |  | mA peak/ cm2
r. | Leakage Current at
|  | - MCOV (Resistive / Total) |  |  |  | mA
|  | - Nominal System L-G Voltage (Resistive / Total) |  |  |  | mA
s. | RIV at 1.05 Max. System L-G Operating Voltage |  |  |  |  | µV
t. | Creepage Distance of Insulator |  |  |  |  | mm
u. | Insulator Color
v. | Weight |  |  |  |  | kg
w. | Discharge Counter
- Manufacturer / Country
- Type / Model
|  | - Minimum Impulse Registration |  |  |  | A
- Registration Capability per Second
|  | - Indicating Ammeter Scale |  |  |  | mA peak
Remark