## Sheet1
SN | MATERIALS NO | DESCRIPTION | UNIT OF MEASURE | QUANTITY
| 1638191.0 | Manufacturer: HONEYWELL Part Number: GASCH4-50-N2-34 Material PO Text: CALIBRATION GAS, CYLINDER WATER CAPACITY: 0.79L, GAS CONTENT: 50 PERCENT METHANE, 50 PERCENT NITROGEN, QUANTITY OF GAS: 34L, | PC (UOM Easy) | 20
| 1626088.0 | Manufacturer: HONEYWELL Part Number: SZR-MY2-N1 24VDC Material PO Text: RELAY, DPDT, 24 VDC, 8 PIN PLUG-IN SOLDER TERMINALS, WITH LED INDICATOR | PC (UOM Easy) | 1
| 2662667.0 | Manufacturer: HONEYWELL Part Number: 17840-01 Material PO Text: DETECTOR, SMOKE OPTICAL CONVENTIONAL GENTS GENT CONVENTIONAL OPTICAL SMOKE DETECTOR OPERATING VOLT: 8.0 28.0V QUIESCENT CYRRENT: 60UA AT 28V ALARM C | PC (UOM Easy) | 20
| 2662667.0 | Manufacturer: HONEYWELL Part Number: 17840-01 Material PO Text: DETECTOR, SMOKE OPTICAL CONVENTIONAL GENTS GENT CONVENTIONAL OPTICAL SMOKE DETECTOR OPERATING VOLT: 8.0 28.0V QUIESCENT CYRRENT: 60UA AT 28V ALARM C | PC (UOM Easy) | 10
| 1697867.0 | Manufacturer: HONEYWELL Part Number: COR00003 Material PO Text: BOTTLE OF REFRIGERANT GAS MODEL: GENETRON 404A TYPE OF FLUID: HFC OZONE DEPLETING SUBSTANCES: 0 GLOBAL WARMING POTENTIAL; 3260 SAFETY CLASSIFICATION: A1 | Canister (UOM Unisol) | 1
| 1626089.0 | Manufacturer: HONEYWELL Part Number: SZR-MY2-1 200VAC Material PO Text: RELAY, PLUG-IN, 8 PIN, DPDT COIL: 200V AC MODEL: SZR-MY2-1 200VAC MFR: HONEYWELL | PC (UOM Easy) | 1
| 1626090.0 | Manufacturer: HONEYWELL Part Number: SZR-MY4-1 200VAC Material PO Text: RELAY, 4PDT, 200 VAC, 14 PIN PLUG-IN SOLDER TERMINALS, | PC (UOM Easy) | 1
| 1626087.0 | Manufacturer: HONEYWELL Part Number: SZR-MY2-1 24VDC Material PO Text: RELAY, DPDT, 24 VDC, 8 PIN PLUG-IN SOLDER TERMINALS, | PC (UOM Easy) | 1
| 1626088.0 | Manufacturer: HONEYWELL Part Number: SZR-MY2-N1 24VDC Material PO Text: RELAY, DPDT, 24 VDC, 8 PIN PLUG-IN SOLDER TERMINALS, WITH LED INDICATOR | PC (UOM Easy) | 1
| 1769498.0 | Manufacturer: HONEYWELL Part Number: 2106B2311 Material PO Text: SENSOR FOR GAS DETECTOR TYPE: SENSEPOINT HT FLAMMABLE SENSOR (ATEX) PRODUCT CODE: 2106B2311 OUTPUT SIGNAL : 4 TO 20MA SUPPLY VOLTAGE : 24VDC MEASURING | PC (UOM Easy) | 2
| 1772039.0 | Manufacturer: HONEYWELL Part Number: SEARCHLINE EXCEL_ 2104B2071 TX SHORT Material PO Text: GAS DETECTOR, TRANSMITTER TYPE: SEARCHLINE EXCEL INFRARED OPEN PATH SUPPLY VOLTAGE : 24VDC MEASURING RANGE : 0-5LEL CONNECT | PC (UOM Easy) | 1
| 1607495.0 | Manufacturer: HONEYWELL Part Number: STD924-E1H-00000-S2-SB-CC-CR-HC-F1-3D Material PO Text: TRANSMITTER, DIFFERENTIAL PRESSURE PRESSURE RANGE: 0-25 TO 0-1000 mbar (0-10" to 0-400" H2O) OUTPUT: 4-20 mA WITH DIGITAL | PC (UOM Easy) | 1
| 1607500.0 | Manufacturer: HONEYWELL Part Number: STD924-E1A-00000-3D-CC-F1-SH-SM-TG Material PO Text: TRANSMITTER, DIFFERENTIAL PRESSURE PRESSURE RANGE: 0-25 TO 0-1000 mbar (0-10" to 0-400" H2O) OUTPUT: 4-20 mA WITH DIGITAL SIG | PC (UOM Easy) | 1
| 1607514.0 | Manufacturer: HONEYWELL Part Number: STG94L-E1G-00000-3D-CC-F1-SB-SH-SM+SEAL? Material PO Text: TRANSMITTER, PRESSURE ST 3000 0 - 35BAR ST 3000 SERIES 900 SMART TRANSMITTER COMES WITH CHEMICAL SEAL AND CAPILLARY W19 | PC (UOM Easy) | 1
| 1607754.0 | Manufacturer: HONEYWELL Part Number: STT25H-0-TNE-T0E-000-0-0DC-00-3S Material PO Text: TRANSMITTER, TEMPERATURE HART PROTOCOL, 4-20mA OUTPUT NO INTEGRAL SENSOR PROBE OR THERMOWELL SUPPLIED HOUSING MOUNT EXPLOSION P | PC (UOM Easy) | 1
| 1625517.0 | Manufacturer: HONEYWELL Part Number: TE/244 Material PO Text: ELEMENT, TEMPERATURE PT100 STAINLESS STEEL SINGLE ELEMENT, 3 WIRES DIAMETER 6 MM SENSOR IMMERSION LENGTH: 244 MM | PC (UOM Easy) | 1
| 2653702.0 | Manufacturer: HONEYWELL Part Number: STT25-H-0-TNE-T0E-000-0D0-00-3S Material PO Text: TEMPERATURE TRANSMITTER PT100 TYPE: STT25-H TEMPERATURE RANGE: 0- 100 DEG C INCLUDING HOUSING + INTEGRAL METER (LOCAL DISPLAY) | PC (UOM Easy) | 1
| 2669626.0 | Manufacturer: HONEYWELL Part Number: 2108B2001H Material PO Text: HYDROCARBON OPTIMA PLUS GAS DETECTOR INFRA-RED ATEX/IECEx WITH HART CAPABILITY. -40 DEG C TO 65 DEG C CALIBRATED WITH 100% LEL METHANE INCLUDE INSTRU | PC (UOM Easy) | 1
| 1697867.0 | Manufacturer: HONEYWELL Part Number: COR00003 Material PO Text: BOTTLE OF REFRIGERANT GAS MODEL: GENETRON 404A TYPE OF FLUID: HFC OZONE DEPLETING SUBSTANCES: 0 GLOBAL WARMING POTENTIAL; 3260 SAFETY CLASSIFICATION: A | Canister (UOM Unisol) | 6
| 1626090.0 | Manufacturer: HONEYWELL Part Number: SZR-MY4-1 200VAC Material PO Text: RELAY, 4PDT, 200 VAC, 14 PIN PLUG-IN SOLDER TERMINALS, | PC (UOM Easy) | 5
| 1626089.0 | Manufacturer: HONEYWELL Part Number: SZR-MY2-1 200VAC Material PO Text: RELAY, PLUG-IN, 8 PIN, DPDT COIL: 200V AC MODEL: SZR-MY2-1 200VAC MFR: HONEYWELL | PC (UOM Easy) | 3
| 2636272.0 | Manufacturer: HONEYWELL Part Number: 2104B2131 Material PO Text: GAS DETECTOR UNIT, SEARCHLINE EXCEL INFRA RED GAS DETECTOR, OPEN PATH RECEIVER, MEDIUM RANGE, CALIBRATED FOR METHANE | PC (UOM Easy) | 5
| 1625524.0 | Manufacturer: HONEYWELL Part Number: STT700-1H-A10-000000-60A0-11C-C-F5-F1-00 Material PO Text: TRANSMITTER, TEMPERATURE MODULE 4-20mA OUTPUT, SFC/SCT CONFIGURABLE NO INTEGRAL SENSOR PROBE OR THERMOWELL SUPPLIED NO | PC (UOM Easy) | 4
| 1607504.0 | Manufacturer: HONEYWELL Part Number: STG94L-E1G-00000-3D-CC-F1-HC-SH-SM-TG Material PO Text: TRANSMITTER, GAUGE PRESSURE PRESSURE RANGE: 0-1.4 TO 0-35 bar (0-20 TO 0-500 psig) OUTPUT: 4-20 mA WITH DIGITAL SIGNAL BAS | PC (UOM Easy) | 3
| 1721700.0 | Manufacturer: HONEYWELL Part Number: STG770-E1GS4A-1-CFHB-11S-B-21A0-F1-0 Material PO Text: GAUGE PRESSURE TRANSMITTER MODEL: STG770 RANGE PRESSURE: 0-210BAR SIGNAL TYPE: HART PROCESS CONNECTION SIZE: 1/4"NPTF EVENT | PC (UOM Easy) | 1
| 1721697.0 | Manufacturer: HONEYWELL Part Number: STD720-E1AC4AS-1-C-BHB-11C-B-01A0-00-0/? Material PO Text: DIFFERENTIAL PRESSURE TRANSMITTER MODEL: STD720 RANGE PRESSURE: +/-25MBAR SIGNAL TYPE: HART PROCESS CONNECTION SIZE: 1/ | PC (UOM Easy) | 1
| 1701971.0 | Manufacturer: HONEYWELL Part Number: 2108B0259 Material PO Text: HYDROPHOBIC/DUST BARRIER FOR OML58UPG DRAWING: NG22-280-INS-HON-100003 ITEM: 4 FOR (EXAMPLE OF REFERENCING) IR POINT GAS DETECTOR DUCT MOUNTED MODEL: | PC (UOM Easy) | 1
| 2638169.0 | Manufacturer: HONGWEI Part Number: HLP516 Material PO Text: SWITCH, PRESSURE, RANGE 5 TO 16 BAR FIRE WATER PUMP SKID FOR MULTICELULLAR PUMP TYPE MUL 810-OS | PC (UOM Easy) | 2
| 1724468.0 | Manufacturer: HURNER FUNKEN Part Number: TBA Material PO Text: CENTRIFUGAL FAN MODEL: KCV FLOWRATE: 6488M3/H SPEED: 1592RPM WEIGHT: 98KG SERVICE SIDE: RIGHT FOR OFON2 PROJECT DRAWING: NG-018-P2-VDR-201857 FOLIO 5 MF | PC (UOM Easy) | 1
| 1724467.0 | Manufacturer: HURNER FUNKEN Material PO Text: CENTRIFUGAL FAN MODEL: KCV FLOWRATE: 6488M3/H SPEED: 1592RPM WEIGHT: 98KG SERVICE SIDE: LEFT FOR OFON2 PROJECT DRAWING: NG-018-P2-VDR-201857 FOLIO 6 MFR: HURNER FUNKEN | PC (UOM Easy) | 1
| 1619199.0 | Manufacturer: HYBRIDGE TECHNICAL SUPPLIES Part Number: 21888 Material PO Text: ELEMENT, FILTER FOR BREATHER BFP 7 G3 W1.0, 18 TON BOOM CRANE, HPU SYSTEM DRG NO: T2598-C3426B-H001 ITEM: H14 | PC (UOM Easy) | 1
| 2681598.0 | Manufacturer: HYDAC Part Number: FPU-1-350/25XX.XXA3K Material PO Text: CHARGING KIT USE, 32 AND 5 LITRES ACCUMULATOR COMPOSITION, - CHARGING AND TEST UNIT HYDAC FPU - CHARGING HOSE ADAPTOR FOR THE ACCUMULATOR - HYD | PC (UOM Easy) | 1
| 1711665.0 | Manufacturer: NATCO UK LIMITED Part Number: 10123-016 Material PO Text: RUBBING PLATE MATERIAL: T11 FOR OFON2 PROJECT DRAWING: TT336714-1201 ITEM: 7 FOR COARSE FILTER MODEL: 36" HIGH FLOW MFR: TICO TITANIUM INC PART | PC (UOM Easy) | 2
| 1711665.0 | Manufacturer: NATCO UK LIMITED Part Number: 10123-016 Material PO Text: RUBBING PLATE MATERIAL: T11 FOR OFON2 PROJECT DRAWING: TT336714-1201 ITEM: 7 FOR COARSE FILTER MODEL: 36" HIGH FLOW MFR: TICO TITANIUM INC PART | PC (UOM Easy) | 2
| 1711665.0 | Manufacturer: NATCO UK LIMITED Part Number: 10123-016 Material PO Text: RUBBING PLATE MATERIAL: T11 FOR OFON2 PROJECT DRAWING: TT336714-1201 ITEM: 7 FOR COARSE FILTER MODEL: 36" HIGH FLOW MFR: TICO TITANIUM INC PART | PC (UOM Easy) | 2
| 1711665.0 | Manufacturer: NATCO UK LIMITED Part Number: 10123-016 Material PO Text: RUBBING PLATE MATERIAL: T11 FOR OFON2 PROJECT DRAWING: TT336714-1201 ITEM: 7 FOR COARSE FILTER MODEL: 36" HIGH FLOW MFR: TICO TITANIUM INC PART | PC (UOM Easy) | 2
| 1711673.0 | Manufacturer: NATCO UK LIMITED Part Number: 10123-024 Material PO Text: BUSHING MATERIAL: POLYETHYLENE (PE) POSITION: BOTTOM FOR OFON2 PROJECT DRAWING: TT336714-1301 ITEM: 6 FOR COARSE FILTER MODEL: 36" HIGH FLOW MF | PC (UOM Easy) | 9
| 1711672.0 | Manufacturer: NATCO UK LIMITED Part Number: 10123-023 Material PO Text: BUSHING MATERIAL: POLYETHYLENE (PE) POSITION: TOP FOR OFON2 PROJECT DRAWING: TT336714-1301 ITEM: 5 FOR COARSE FILTER MODEL: 36" HIGH FLOW MFR: | PC (UOM Easy) | 8
| 1711653.0 | Manufacturer: NATCO UK LIMITED Part Number: 10123-002 Material PO Text: GASKET DIMENSIONS: 987X902X6MM MATERIAL: REINFORCED NEOPRENE (NPRN) FOR OFON2 PROJECT DRAWING: J10123-2100 ITEM: 12 FOR COARSE FILTER MODEL: 36 | PC (UOM Easy) | 6
| 1711652.0 | Manufacturer: NATCO UK LIMITED Part Number: 10123-001 Material PO Text: STUDBOLT SIZE, 3/4" LENGTH, 13" WITH 2 PLAIN WASHERS WITH 2 SPRING WASHERS WITH 2 NUTS FOR OFON2 PROJECT DRAWING, J10123-2100 ITEM, 15 FOR COAR | SET (UOM Easy) | 9
| 1711670.0 | Manufacturer: NATCO UK LIMITED Part Number: 10123-021 Material PO Text: FILTER CARTRIDGE MATERIAL: TITANIUM (TI) FOR OFON2 PROJECT DRAWING: TT336714-1201 ITEM: 6 FOR COARSE FILTER MODEL: 36" HIGH FLOW MFR: TICO TITA | PC (UOM Easy) | 53