## Power Unit No.1
Spare Parts Specification — Power Unit No.1
No. | Part / Material Description | Qty | UoM
1 | High-pressure rotor, dwg. Bu-1230298 | 1 | set
2 | HP cylinder front gland housing | 1 | pcs
3 | IP cylinder front gland housing | 1 | pcs
4 | Oil cooler MBM 63-90 | 3 | pcs
5 | Oil cooler MBM 25-37 | 2 | pcs
6 | Steam ejector EP-3-700-1 | 2 | pcs
7 | Tubes type MNZh 30x1 | 41 | tons
8 | Segments of all diaphragm and end seals | 94 | pcs
9 | Oil guard rings | 12 | pcs
10 | Oil purification unit (MOY) PSM 2-4 | 1 | pcs
11 | Inner casing of feedwater electric pump PE-720-185-3 (RN17.005.000.00MCh) with rotor (RN 17.005.101.00) | 1 | set
12 | Spare parts for feedwater electric pump PE 720-185-3 | 1 | set
12.1 | Shaft | 1 | pcs
12.2 | Impeller | 10 | pcs
12.3 | Bush | 1 | pcs
12.4 | Balancing disk | 1 | pcs
12.5 | Set of rubber rings | 1 | set
12.6 | Mechanical seal assembly | 2 | set
13 | Articulated speed governor RS 3000-5 part op.132508 SPb-1288500 | 1 | pcs
14 | Flaring tool R-14, R-28 | 20 | pcs
15 | Sheet steel δ 6 mm | 1.4 | tons
16 | Bearing RVP 9039488 | 2 | pcs
17 | Valve DU-50 RU-230 kgf/cm² | 10 | pcs
18 | Tube 60x6 st.20 | 40000 | kg
19 | Stainless steel sheet δ 12 mm | 3 | tons
20 | Electrode OZL-6 D3 | 500 | kg
21 | Electrode OZL-6 D4 | 500 | kg
22 | Generator gas cooler TGV-200M-MUZ dwg. BILT.065111.002 | 2 | pcs
23 | Electrical insulating varnished cloth LKM | 500 | kg
24 | Lavsan cord D3 | 5000 | m
25 | Fluoroplastic round bar D 100 | 250 | kg
26 | Enamel GF-92 | 200 | kg
27 | Potassium hydroxide (KOH) GOST 9285-78 | 1000 | kg
28 | Mica tape LSEP-934-TPL TU 3492-090-50157126-2011 | 200 | kg
29 | Thyristor operating group VTC 450x2/23200/96+24 | 1 | set
30 | Thyristor forcing group | 1 | set
31 | Surge arrester OPN 110 | 3 | pcs
32 | Silicone cord 9 IPR-1338 | 50 | kg
33 | Silicone cord 10 IPR-1338 | 50 | kg
34 | Autotransformer ATDCTN-125000/220/110-68 | 1 | set
35 | Resistance thermocouple TSM-1388 50M Ø5 mm L 20 mm | 40 | pcs
36 | Vibration sensor for Bently Nevada 3500 system (HTVS P/N 330750-80 TYPE S 400°C) | 6 | pcs
37 | Set of double-acting axial displacement equipment part op.26828 or modern instruments | 2 | set
38 | Sensor for equipment set of rotor and cylinder expansion difference (IP-108) or modern instruments | 3 | pcs
39 | Chart paper No.1757 | 8000 | m²
40 | HP cylinder front seal details group dwg. A-1234271 part op.132136 | 1 | set
41 | Journal bearing shell Ø300 group dwg. part op. 118311-B (No. 1) | 1 | pcs
42 | Journal and thrust bearing shell Ø330 part op. 118303-B (No. 2) | 1 | pcs
43 | Journal bearing shell Ø360 part op. 118304-B (No. 3) | 1 | pcs
44 | Journal bearing shell Ø435 part op. 118309-B (No. 4,5) | 2 | pcs
45 | Intermediate-pressure rotor, dwg. Bu-1233495 | 1 | set
46 | IP cylinder front seal details group dwg. A-1134992 part op.118140 | 1 | set
47 | Centrifugal turbine oil pump part op.118318 VSp 1292075-SB | 1 | set

## Power Unit No.3
Spare Parts Specification — Power Unit No.3
No. | Part / Material Description | Qty | UoM
1 | High-pressure rotor, dwg. Bu-1230298 | 1 | set
2 | HP cylinder front gland housing | 1 | pcs
3 | IP cylinder front gland housing | 1 | pcs
4 | Oil cooler MBM 63-90 | 3 | pcs
5 | Oil cooler MBM 25-37 | 2 | pcs
6 | Steam ejector EP-3-700-1 | 2 | pcs
7 | Tubes type MNZh 30x1 | 82 | tons
8 | Segments of all diaphragm and end seals | 94 | pcs
9 | Oil guard rings | 12 | pcs
10 | Oil purification unit (MOY) PSM 2-4 | 1 | pcs
11 | Inner casing of feedwater electric pump PE-720-185-3 (RN17.005.000.00MCh) with rotor (RN 17.005.101.00) | 1 | set
12 | Spare parts for feedwater electric pump PE 720-185-3 | 1 | set
12.1 | Shaft | 1 | pcs
12.2 | Impeller | 10 | pcs
12.3 | Bush | 1 | pcs
12.4 | Balancing disk | 1 | pcs
12.5 | Set of rubber rings | 1 | set
12.6 | Mechanical seal assembly | 2 | set
13 | Articulated speed governor RS 3000-5 part op.132508 SPb-1288500 | 1 | pcs
14 | Flaring tool R-14, R-28 | 40 | pcs
15 | Sheet steel δ 6 mm | 1.4 | tons
16 | Bearing RVP 9039488 | 2 | pcs
17 | Valve DU-50 RU-230 kgf/cm² | 10 | pcs
18 | Valve DU-20 RU-230 kgf/cm² | 50 | pcs
19 | Tube 60x6 st.20 | 60000 | kg
20 | Stainless steel sheet δ 12 mm | 3 | tons
21 | Electrode TsL-39 D3 | 500 | kg
22 | Electrode OZL-6 D3 | 500 | kg
23 | Electrode OZL-6 D4 | 500 | kg
24 | Generator gas cooler TGV-200M-MUZ dwg. BILT.065111.002 | 2 | pcs
25 | Electrical insulating varnished cloth LKM | 500 | kg
26 | Lavsan cord D3 | 5000 | m
27 | Fluoroplastic round bar D 100 | 250 | kg
28 | Enamel GF-92 | 200 | kg
29 | Fuse PNB-600 315 A | 100 | pcs
30 | Potassium hydroxide (KOH) GOST 9285-78 | 1000 | kg
31 | Mica tape LSEP-934-TPL TU 3492-090-50157126-2011 | 200 | kg
32 | Thyristor operating group VTC 450x2/23200/96+24 | 1 | set
33 | Thyristor forcing group | 1 | set
34 | Surge arrester OPN 220 | 3 | pcs
35 | Silicone cord 9 IPR-1338 | 50 | kg
36 | Silicone cord 10 IPR-1338 | 50 | kg
37 | Resistance thermocouple TSM-1388 50M Ø5 mm L 20 mm | 40 | pcs
38 | Vibration sensor for Bently Nevada 3500 system (HTVS P/N 330750-80 TYPE S 400°C) | 6 | pcs
39 | Set of double-acting axial displacement equipment part op.26828 or modern instruments | 2 | set
40 | Sensor for equipment set of rotor and cylinder expansion difference (IP-108) or modern instruments | 3 | pcs
41 | Chart paper No.1757 | 8000 | m²
42 | HP cylinder front seal details group dwg. A-1234271 part op.132136 | 1 | set
43 | Journal bearing shell Ø300 group dwg. part op. 118311-B (No. 1) | 1 | pcs
44 | Journal and thrust bearing shell Ø330 part op. 118303-B (No. 2) | 1 | pcs
45 | Journal bearing shell Ø360 part op. 118304-B (No. 3) | 1 | pcs
46 | Journal bearing shell Ø435 part op. 118309-B (No. 4,5) | 2 | pcs
47 | Intermediate-pressure rotor, dwg. Bu-1233495 | 1 | set
48 | IP cylinder front seal details group dwg. A-1134992 part op.118140 | 1 | set
49 | Centrifugal turbine oil pump part op.118318 VSp 1292075-SB | 1 | set
50 | Feedwater electric pump with electric motor PE-720-185-3 drawing No: (RN17.005.000.00MCh), (RN17.005.100.00SB) | 1 | set