## RFQ
Ashah Ragin Co., Ltd
"Request for Quotation"
Factory | Phase 3,Industrial Town,Herat Afghanistan |  |  |  | Date | 2026-07-08
Phone | 020-2223840 |  |  |  | RfQ #No | H_21
Mobile | 0093-797 95 95 95 : Whatsapp: 0093796838515
Email | nasirhamkar@gmail.com
Supplier Information
Company
Address
Email
Mobile
List of required goods
The equipment required for Protection of Transformers, Afghanistan
Item | Description |  |  | Quantity | Unit | Price | Total
1 | Earthing Transformer; |  | Outdoor, Oil- immersed ; Rated voltage: 20kV; Frequency: 50Hz; Vector Group: ZNyn11; Standard: IEC 60076 | 2 | set
2 | Neutral Current Transformer; |  | Outdoor; 20kV; Ipn: 1600A Ins. Level 1.2 - 6 kV ; Standard: 60044 -1 | 2 | Nos
3 | Neutral current transforer (CT) |  | on the 110kV side of power transformer (Two core type), with suuport structure and all fittings | 2 | Nos
4 | Neutral current transforer (CT) |  | on the 20kV side of the power transformer ( Two core type) , complete with support structure, all fittings | 2 | Nos
5 | Outdoor 20kv current Transformer | Applicable Standards, IEc 600044-1/IEC 61869-2 installation, indoor System Voltage,20 kv | Applicable Standards, IEc 600044-1/IEC 61869-2 installation, indoor System Voltage,20 kv | 18 | Nos
6 | Outdoor 3.3kv /100 v Potential Transformer (PT) | 1. Applicable Standards, IEc 60044-2 / IEC 61869-3 2. System Voltage,3.3 kv 3. Highest System Voltage,3.6 kv | 1. Applicable Standards, IEc 60044-2 / IEC 61869-3 2. System Voltage,3.3 kv 3. Highest System Voltage,3.6 kv | 9 | Nos
7 | Outdoor 20kv /100 v Potential Transformer PT | Applicable Standards, IEc 60044-2 / IEC 61869-3 System Voltage,20 kv Highest System Voltage,24 kv Rated primary Voltage 20KV / √3 Rated Secondary Voltage 100 V / √3 | Applicable Standards, IEc 60044-2 / IEC 61869-3 System Voltage,20 kv Highest System Voltage,24 kv Rated primary Voltage 20KV / √3 Rated Secondary Voltage 100 V / √3 | 9 | Nos
Note: Please specify, Payment terms, Delivery time,Technical data and avilibility of Type Test Reports
Head Office: Herat, Afghanistan, 29 Hamal Square, Bank Khon Road
Sales Office Address: Kabul, Darul-Aman Main Road, near AWCC 0093799111500- 0202511616